Marion County Stormwater Management Plan

for the Urbanized Area around Salem and Keizer

3/09/04

For more information, contact:

Marion County Department of Public Works

Environmental Services Division

5155 Silverton Road, NE

Salem, OR  97305

503-588-5036

# TABLE OF CONTENTS

|  | Page |
| --- | --- |
| Executive Summary | 1 |
| Introduction | 3 |
| List of Acronyms | 4 |
| Background | 5 |
| Physical Setting |  |
| Map of Watersheds and Receiving Streams in SWMA |  |
| Map of Land Use Zoning in SWMA |  |
| State and Federal Regulations |  |
| Map of Stormwater Management Area (with UGB and ESSD delineated) |  |
| Problem definition (including health concerns) |  |
| Map of 303(d) Streams & Hydrology |  |
| Program Goals | 13 |
| Reduce the discharge of pollutants to the “maximum extent practicable” (MEP); |  |
| Protect water quality; and |  |
| Satisfy the appropriate water quality requirements of the Clean Water Act. |  |
| Program Integration and Regional Coordination |  |
| Implications for Stormwater System Users | 14 |
| Residents |  |
| Businesses |  |
| Agriculture |  |
| Builders / New Construction |  |
| Public Participation Process | 15 |
| Task Force |  |
| Open House |  |
| Elected Officials |  |
| Public Notice |  |
| Implementation Timeline | 17 |
| Program Costs & Financing | 19 |
| Costs of Program |  |
| Allocation of Costs |  |
| Program Administration and Evaluation (Performance Measures) |  |
| Program Summary |  |
| Public Education and Outreach: Minimum Control Measure 1 |  |
| Public Participation and Involvement: Minimum Control Measure 2 |  |
| Illicit Discharge Detection and Elimination: Minimum Control Measure 3 |  |
| Construction Site Run-off Control: Minimum Control Measure 4 |  |
| Post-construction Run-off Control: Minimum Control Measure 5 |  |
| Pollution Prevention & Good Housekeeping: Minimum Control Measure 6 |  |
| Glossary of Stormwater Terms |  |
| Appendices |  |
| A. Public Participation Feedback |  |
| B. Environmental and Human Health Effects from Specific Contaminants and Pollutants |  |

EXECUTIVE SUMMARY

Stormwater runoff occurs when rain or snowmelt flows over the ground. Hard surfaces like driveways, roofs, sidewalks, and streets prevent stormwater from naturally soaking into the ground. This water can pick up debris, chemicals, dirt, and other pollutants and flow into a storm drainage system or directly into a stream or wetland. Anything that enters a storm drainage system flows untreated into the waterbodies we use for swimming, fishing, and drinking. This polluted stormwater can have many bad effects on people, fish, animals, and plants.

To help deal with the problem of polluted stormwater, the federal Environmental Protection Agency has developed a permit process called the National Pollutant Discharge Elimination System (NPDES) municipal separate storm sewer system (MS4s) permit program. The NPDES MS4 program attempts to reduce polluted stormwater runoff by requiring operators MS4s to develop a program to implement a series of best management practices (BMPs) to deal with illicit stormwater discharges and other sources of contaminants that reach our streams via stormwater runoff. These programs are developed in accordance with a series of minimum control measures. Phase I of the NPDES MS4 program dealt with large and medium MS4 operators (those who serve more than 100,000), as well as construction activity of more than 5 acres, and certain industrial activity.

Currently Phase II is being implemented, and small MS4 operators within US Census designated Urban Areas must comply. Construction activities over one acre are also included under the Phase II permit program. Marion County is included in the list of those who must comply, because of the East Salem Service District and areas near the Salem Urban Growth Boundary (UGB) that meet the criteria for a small MS4.

Marion County Department of Public Works (MCPW) must develop a Stormwater Management Program (SWMP) to meet the requirements of the NPDES Phase II permit. Under Phase II the county must determine the appropriate BMPs and program elements needed to meet the six minimum control measures outlined by the permit.  The six minimum control measures are as follows:

1) 	Public Education and Outreach
2) 	Public Participation and Involvement
3) 	Illicit Discharge Detection and Elimination
4) 	Construction Site Runoff Control
5) 	Post Construction Runoff Control
6) 	Pollution Prevention and Good Housekeeping

All components of the minimum control measures can be met in a variety of ways. For instance, MCPW already has some of the programs and BMPs to meet the NPDES requirements from work done with salmon recovery. Some municipalities in Oregon already have programs and materials that MCPW may use to meet some of the requirements.

Over the next several years, MCPW will implement different components of the stormwater program. Education and system maintenance will receive first priority, with the development of erosion prevention and sediment control ordinances and a funding mechanism occurring later in the 5-year implementation process.

MCPW has developed this SWMP in collaboration with a task force composed of stakeholders from environmental, agricultural, residential, and building/development interests, as well as local municipalities. This task force worked closely with MCPW staff to develop the six minimum control measures and the program’s supplemental text. Opportunity was also provided for public input at the beginning of each task force meeting. Additionally, MCPW hosted two open houses, a website, an information hotline, and a public hearing to solicit citizen input. Citizen input will also be solicited during the annual review process. Funding for the program will come from a mixture of existing funds, permit fees, and an expansion of existing fees.

INTRODUCTION

This document outlines the different components of Marion County’s Stormwater Management Program (SWMP). The program is intended meet the requirements of the National Pollutant Discharge Elimination System (NPDES) Program as developed under the federal Clean Water Act. The Stormwater Management Area (SWMA) includes the urban fringe just outside the cities of Salem and Keizer. Following the regulatory requirements, the program focuses on six primary areas (termed Minimum Control Measures or MCMs):

1) 	Public Education and Outreach
2) 	Public Participation and Involvement
3) 	Illicit Discharge Detection and Elimination
4) 	Construction Site Runoff Control
5) 	Post Construction Runoff Control
6) 	Pollution Prevention and Good Housekeeping

The typical resident or business in the stormwater management area can expect to receive educational materials on how to reduce their impacts to water quality. These materials will come in a variety of forms including direct mailing, presentations, and visits to local classrooms. These materials will address a variety of topics like erosion control, proper fertilizer and pesticide applications, and disposal of household hazardous waste. Additionally, residents of the area will see an increase in Public Works maintenance of stormwater drainage facilities, like checking detention basins, cleaning up litter, and increased street sweeping. Maintenance activities like these can play an important role in keeping contaminants out of our streams and rivers. Several years into the program, there will be additional requirements for erosion control when builders request a building permit.

Marion County Department of Public Works (MCPW) is charged with the development, implementation, and evaluation of the SWMP. To accomplish these tasks, MCPW worked with a task force that represented environmental, agricultural, residential, and building/development interests, as well as local municipalities. This task force worked closely with MCPW staff to develop the six minimum control measures and the program’s supplemental text. Opportunity was also provided for public input at the beginning of each task force meeting. Additionally, MCPW hosted two open houses, a website, an information hotline, and a public hearing to solicit citizen input. Citizen input will also be solicited during permit approval and annual review processes.

Funding for the program will come from a mixture of existing funds, permit fees, and an expansion of existing fees. The program will be applied in a way that is appropriate to the land use for a given area. For example, in agricultural areas the program will primarily rely on the local Agricultural Water Quality Plan (developed under Senate Bill 1010). In rural residential areas, the program will focus on education, erosion control, and maintenance of drainage systems. In the urbanized areas, the program will include more components like erosion control, direct mailings, pollution detection, business education, and reduction of illegal dumping. This approach reflects the potential impact of different land uses on water quality and builds off of existing programs that support water quality goals.

Common Acronyms

- 1200-C (& CA)	DEQ Erosion Control Permits for Land Disturbing Activities

- 303(d) list		DEQ list of waterbodies not meeting water quality standards

- ACWA		Association of Clean Water Agencies

- BMP’s		Best Management Practices

- BOC		Marion County Board of Commissioners

- CWA		Clean Water Act

- DEQ		Department of Environmental Quality

- DMA		Designated Management Agency

- EPA		Environmental Protection Agency

- ESA		Endangered Species Act

- FTE		Full Time Equivalent

- MCM		Minimum Control Measures

- MEP		Maximum Extent Practicable

- MOA		Memo of Agreement

- MOU		Memo of Understanding

- MS4s		Municipal Separate Storm Sewer Systems

- NPDES Ph II	National Pollutant Discharge Elimination System Phase II

- O & M		Operation & Maintenance

- SWCD		Soil & Water Conservation District

- SWMP		Stormwater Management Plan

- TMDL’s		Total Maximum Daily Load

- UA’s		Urbanized Areas

BACKGROUND

Physical Setting

The Stormwater Management Area for Marion County corresponds with the U.S. Census Bureau-designated “Urbanized Area”.  These areas are developed from census data relating to population densities and census blocks. Within this “Urbanized Area” Marion County is responsible for an urbanized fringe around Keizer, Turner, and Salem. Though it is designated as an urbanized area, the land uses include agricultural, commercial, multifamily residential, single family residential, and rural residential areas. Since different land uses can have a significantly different impact on stormwater quality, the SWMP will contain components that address actual land uses. (See Map: County Land Use Zoning in Stormwater Management Area)

SWMA Vital Statistics

| SWMA Area | Acres | Properties |
| --- | --- | --- |
| Inside ESSD | 3,576 | 9,502 |
| Outside ESSD | 5,527 | 2,322 |
| Totals | 9,103 | 11,824 |

(ESSD – East Salem Service District)

The SWMA includes portions of the following watersheds:

- Claggett Creek

- Little Pudding River

- Mill Creek (including Battle Creek)

- Croisan Creek

(See Map: Watersheds in Stormwater Management Area)

Federal Regulations

Introduction to the Clean Water Act

The Clean Water Act (CWA) is the cornerstone of surface water quality protection in the United States. (The Act does not deal directly with ground water nor with water quantity issues.) The statute employs a variety of regulatory and non-regulatory tools to sharply reduce direct pollutant discharges into waterways, finance municipal wastewater treatment facilities, and manage polluted runoff. These tools are employed to achieve the broader goal of restoring and maintaining the chemical, physical, and biological integrity of the nation's waters so that they can support "the protection and propagation of fish, shellfish, and wildlife and recreation in and on the water."

For many years following the passage of the CWA in 1972, EPA, states, and Indian tribes focused mainly on the chemical aspects of the "integrity" goal. During the last decade, however, more attention has been given to physical and biological integrity. Also, in the early decades of the Act's implementation, efforts focused on regulating discharges from traditional "point source" facilities, such as municipal sewage treatment plants and industrial facilities, with little attention paid to runoff from streets, construction sites, farms, and other "wet-weather" sources.

Starting in the late 1980s, efforts to address polluted runoff have increased significantly. For "nonpoint" runoff, voluntary programs, including cost-sharing with landowners are the key tool. For "wet weather point sources" like urban storm sewer systems and construction sites, a regulatory approach is being employed.

Evolution of CWA programs over the last decade has also included something of a shift from a program-by-program, source-by-source, pollutant-by-pollutant approach to more holistic watershed-based strategies. Under the watershed approach equal emphasis is placed on protecting healthy waters and restoring impaired ones. A full array of issues are addressed, not just those subject to CWA regulatory authority. Involvement of stakeholder groups in the development and implementation of strategies for achieving and maintaining state water quality and other environmental goals is another hallmark of this approach.  (EPA, Website: http://www.epa.gov/watertrain/cwa/, 2004)

### National Pollutant Discharge Elimination System Phase II

In 1990, EPA promulgated rules establishing Phase I of the National Pollutant Discharge Elimination System (NPDES) storm water program. The Phase I program for MS4s requires operators of “medium” and “large” MS4s, that is, those that generally serve populations of  100,000 or greater, to implement a storm water management program as a means to control polluted discharges from these MS4s. The Storm Water Phase II Rule extends coverage of the NPDES storm water program to certain “small” MS4s but takes a slightly different approach to how the storm water management program is developed and implemented.

What Is a Phase II Small MS4?

A small MS4 is any MS4 not already covered by the Phase I program as a medium or large MS4. The Phase II Rule automatically covers on a nationwide basis all small MS4s located in “urbanized areas” (UAs) as defined by the Bureau of the Census (unless waived by the NPDES permitting authority), and on a case-by-case basis those small MS4s located outside of UAs that the NPDES permitting authority designates.

What Are the Phase II Small MS4 Program Requirements?

Operators of regulated small MS4s are required to design their programs to:

_ Reduce the discharge of pollutants to the “maximum extent practicable” (MEP);

_ Protect water quality; and

_ Satisfy the appropriate water quality requirements of the Clean Water Act.

Implementation of the MEP standard will typically require the development and implementation of BMPs and the achievement of measurable goals to satisfy each of the six minimum control measures.

The Phase II Rule defines a small MS4 storm water management program as a program comprising six elements that, when implemented in concert, are expected to result in significant reductions of pollutants discharged into receiving waterbodies.

The six MS4 program elements, termed “minimum control measures,” are outlined below.

Public Education and Outreach

Distributing educational materials and performing outreach to inform citizens about the impacts polluted storm water runoff discharges can have on water quality.

Public Participation/Involvement

Providing opportunities for citizens to participate in program development and implementation, including effectively publicizing public hearings and/or encouraging citizen representatives on a storm water management panel.

Illicit Discharge Detection and Elimination

Developing and implementing a plan to detect and eliminate illicit discharges to the storm sewer system (includes developing a system map and informing the community about hazards associated with illegal discharges and improper disposal of waste).

Construction Site Runoff Control

Developing, implementing, and enforcing an erosion and sediment control program for construction activities that disturb one (1) or more acres of land (controls could include silt fences and temporary storm water detention ponds).

Post-Construction Runoff Control

Developing, implementing, and enforcing a program to address discharges of post-construction storm water runoff from new development and redevelopment areas. Applicable controls could include preventative actions such as protecting sensitive areas (e.g., wetlands) or the use of structural BMPs such as grassed swales or porous pavement.

Pollution Prevention/Good Housekeeping

Developing and implementing a program with the goal of preventing or reducing pollutant runoff from municipal operations. The program must include municipal staff training on pollution prevention measures and techniques (e.g., regular street sweeping, reduction in the use of pesticides or street salt, or frequent catch-basin cleaning).

What Information Must the NPDES Permit Application Include?

The Phase II program for MS4s is designed to accommodate a general permit approach using a Notice of Intent (NOI) as the permit application. The operator of a regulated small MS4 must include in its permit application, or NOI, its chosen BMPs and measurable goals for each minimum control measure. To help permittees identify the most appropriate BMPs for their programs, EPA will issue a “menu,” of BMPs to serve as guidance. NPDES permitting authorities can modify the EPA menu or develop their own list.

What Are the Implementation Options?

The rule identifies a number of implementation options for regulated small MS4 operators. These include sharing responsibility for program development with a nearby regulated small MS4, taking advantage of existing local or State programs, or participating in the implementation of an existing Phase I MS4's storm water program as a co-permittee. These options are intended to promote a regional approach to storm water management coordinated on a watershed basis.

What Kind of Program Evaluation/Assessment Is Required?

Permittees need to evaluate the effectiveness of their chosen BMPs to determine whether the BMPs are reducing the discharge of pollutants from their systems to the “maximum extent practicable” and to determine if the BMP mix is satisfying the water quality requirements of the Clean Water Act. Permittees are also required to assess their progress in achieving their program’s measurable goals. While monitoring is not required under the rule, the NPDES permitting authority (DEQ in Oregon) has the discretion to require monitoring if deemed necessary. If there is an indication of a need for improved controls, permittees can revise their mix of BMPs to create a more effective program.

(From EPA Fact Sheet: Stormwater Phase II Final Rule, Small MS4 Stormwater Program Overview, January 2000.)

# State Regulations

The US Environmental Protection Agency has delegated some responsibilities of the NPDES program to the Oregon Department of Environmental Quality (DEQ).

##### Oregon’s Phase II Municipal Storm Water Program

Background

In December of 1999, the U.S. Environmental Protection Agency (EPA) adopted rules to implement “Phase II” of the storm water program mandated by the federal Clean Water Act. A major element of Phase II regulations addresses the development and issuance of NPDES (National Pollutant Discharge Elimination System) permits for storm water discharges to surface water from “small” municipal separate storm sewer systems (MS4s). These permits would require some jurisdictions to implement measures to reduce the impacts of storm water pollution discharged through their storm sewer systems.

Who’s regulated under the Phase II program?

The federal rules divide potential Phase II communities into four categories:

• 	Automatically designated for permit because of their location within designated Urbanized Areas or “UAs” (defined by the 2000 U.S. Census Bureau). In Oregon, there are 25 cities and counties that fall within UAs, but aren’t already covered by a Phase I permit. Some of these entities have the option of becoming a co-permittee with an adjacent Phase I community.

• 	Required evaluation to determine if permit needed for communities that are outside of UAs, but with populations greater than 10,000. In Oregon, 18 cities fall within this category.

• 	Designated by DEQ using its discretionary authority. If DEQ determines a community’s storm water discharges violate water quality standards, DEQ can require a permit, even if its population is under 10,000 and it’s located outside of an UA.

• 	Petitioned for inclusion in the program. Any interested person can petition DEQ to evaluate MS4s that are not on the original list or not designated as a result of the initial evaluation process.

What criteria will DEQ use to evaluate MS4 communities?

Using EPA guidance, DEQ’s criteria includes population characteristics, such as high population growth and high population densities. However, more weight would be given to local water quality considerations for potential contribution of polluted urban storm water discharges to not only water quality limited streams, but also sensitive waters including those with threatened and endangered species, designated-use (e.g., recreational) impairments, National Marine Sanctuaries, and drinking water sources.

What will the permits require?

The permit conditions will primarily focus on requirements related to the six “minimum measures”:

1. 	Pollution Prevention in Municipal Operations

2. 	Public Education and Outreach

3. 	Public Involvement/Participation

4. 	Illicit Discharge Detection and Elimination

5. 	Construction Site Run-Off Control

6. 	Post-Construction Run-Off Control

Currently, the proposed draft permit does not contain a requirement to conduct storm water effluent or stream monitoring. (However, these MS4 discharging to water quality limited streams or to streams for which Total Maximum Daily Loads (TMDLs) have been established may see a monitoring requirement.

(ODEQ Fact Sheet, “Oregon’s Phase II Municipal Storm Water Program”, 2002)

The 2002 303(d) List of Impaired Waters in Oregon

The Clean Water Act and the "303(d)" List

The Oregon Department of Environmental Quality (DEQ) has the responsibility for developing water quality standards that protect beneficial uses of rivers, streams, lakes and estuaries. Beneficial uses include drinking water, cold water fisheries, industrial water supply, recreation and agricultural uses. Once standards are established, the state monitors surface water quality and reviews available data and information to determine if these standards are being met and water is protected.

Section 303(d) of the federal Clean Water Act requires each state to develop a list of water bodies that do not meet standards, and to submit this list to the U.S. Environmental Protection Agency (EPA) every two years. The “303(d) list” provides a way for Oregonians to identify and prioritize water quality problems. The list also serves as a guide for developing and implementing watershed pollution reduction plans to achieve water quality standards and protect beneficial uses.

Gathering the 2002 data

DEQ recently completed the 2002 303(d) list. Beginning in July 2001, DEQ requested data indicating whether Oregon’s surface water is exceeding water quality standards. The 303(d) list includes data submitted by individuals, organizations and government agencies as well as DEQ’s own monitoring data. DEQ developed a draft list and presented the list for public comment from Aug. 5 through Nov. 1, 2002. All public comments were reviewed and a final list was developed. The final list is accompanied by a list of priorities that target resources for correcting water quality problems.

The 2002 303(d) List

The 2002 303(d) list includes more than 13,300 stream miles that are listed for at least one water quality pollutant. Exceedences of temperature and bacteria are the most prevalent, followed by dissolved oxygen. The 1998 303(d) list included more than 13,700 stream miles that were listed for at least one pollutant. About 5,000 miles have been added since the 1998 303(d) list for at least one pollutant.

Since 1998, DEQ has “de-listed” or removed more than 6,000 miles for at least one pollutant.

Water bodies are de-listed because:

• 	EPA has approved water quality management plans and Total Maximum Daily Load (TMDL) determinations for listed segments of rivers and streams. TMDLs outline how much pollution a water body can safely handle to support beneficial uses.

• 	New data indicates the water body meets water quality standards.

• 	The assessment methodology has changed since the previous 303(d) list.

Since 1998, DEQ has completed TMDLs for several major basins as well as for the Columbia River and Grande Ronde River. New listings will be incorporated into TMDLs being developed in 2003 or later. By 2004, DEQ will complete TMDLs in more than 40 additional basins, including the North Coast and Rogue River basin.

Streams and rivers are not placed on the 303(d) list until sufficient data are available that indicate an exceedance of water quality standards has occurred. Currently, DEQ does not have information on all Oregon water bodies due to insufficient data and/or the quality of the data. Those waters lacking information are not included on the 303 (d) list. Streams and rivers with suspected problems are identified as “Water Bodies of Potential Concern.”

(ODEQ Fact Sheet, “The 2002 303(d) List of Impaired Waters in Oregon”, 2003)

303(d) Streams in the Marion County Stormwater Management Area

| Waterbody | River mile | Contaminant | Season | Year Listed |
| --- | --- | --- | --- | --- |
| Mill Creek | 0 to 25.7 | Fecal Coliform | Year Around | 1998 |
| Pringle Creek | 0 to 6.2 | E Coli | Year Around | 1998 |
| Pringle Creek | 0 to 6.2 | Dieldrin | Year Around | 1998 |
| Pringle Creek | 0 to 6.2 | Temperature | Summer | 1998 |
| Pringle Creek | 0 to 6.2 | Copper | Year Around | 2002 |
| Pringle Creek | 0 to 6.2 | Lead | Year Around | 2002 |
| Pringle Creek | 0 to 6.2 | Zinc | Year Around | 2002 |
| Willamette River | 54.8 to 108 | Fecal Coliform | Winter/Spring/Fall | 1998 |
| Willamette River | 54.8 to 108 | Temperature | Summer | 1998 |
| Willamette River | 54.8 to 108 | Iron | Year Around | 2002 |
| Willamette River | 54.8 to 108 | Dissolved Oxygen | October 1 - May 31 | 2002 |
| Willamette River | 54.8 to 108 | Mercury | Year Around | 1998 |
| Willamette River | 54.8 to 108 | Biological Criteria |  | 1998 |

Potential Health Effects of Contaminants

The environmental and human health effects of certain contaminants varies depends on a number of factors such as concentration of contaminant, length of exposure, organism’s immune system, timing of exposure with organism’s lifecycle, and repetition of exposures.  Following is some general information about water quality standards and the potential effect of contaminants on human and environmental health.  See Appendix B. for more discussion on the potential effects of these contaminants.

Beneficial Uses of the State's Waters

Water quality standards are established to protect beneficial uses of the State's waters. Beneficial uses are assigned by basin in the Oregon Administrative Rules for water quality. Beneficial uses include:

| domestic water supply | resident fish & aquatic life |
| --- | --- |
| industrial water supply | wildlife & hunting |
| irrigation | fishing |
| livestock watering | boating |
| anadromous fish passage | water contact recreation |
| salmonid fish passage | aesthetic quality |
| salmonid fish rearing | hydropower |
| salmonid fish spawning | commercial navigation & transportation |

When a water quality standard is established, the first step is to identify the beneficial uses sensitive to the parameter. Then criteria are established based on the levels needed to protect the sensitive uses. For example, the uses typically most sensitive to dissolved oxygen are fish and aquatic life. Fish and other aquatic organisms need an adequate supply of oxygen in the water to be healthy and productive. In this case, the criteria identify minimal amounts of dissolved oxygen that need to be in the water to protect the fish. In other cases, as with many of the toxic pollutants, the criteria may identify the maximum amount that may be in the water without risk to the aquatic biota or to human health. For other parameters, such as bacteria or some toxic compounds, human health is the most sensitive beneficial use.

(ODEQ, Website: http://www.deq.state.or.us/wq/standards/WQStdsBeneficialUses.htm, 2004)

| Water quality exceedences in the Stormwater Management Area (2002) | Potential environmental and health concerns from contaminants. (See Appendix B. for more information. This information in by no mean exhaustive. The Marion County Health Department and Oregon Department of Environmental Quality can be consulted regarding specific concerns.) |
| --- | --- |
| Biological Criteria | Indicates that certain biological elements are missing from the aquatic ecosystem of the listed waterbody. |
| Copper | At elevated levels, this metal is toxic to aquatic organisms. |
| Dieldrin | A banned pesticide that persists in the environment; can cause health problems. |
| Dissolved Oxygen | The measure of oxygen in water. Too little can suffocate aquatic life. |
| E Coli | Can be harmful to humans, indicates other pathogens may be present. |
| Fecal Coliform | Can be harmful to humans, indicates other pathogens may be present. |
| Iron | Excessive iron can reduce dissolved oxygen available to aquatic organisms. |
| Lead | Can be harmful to humans. |
| Mercury | Mercury (methyl-) can accumulate in fish, resulting in consumption advisories as exist for the Willamette River. |
| Temperature | One of the biggest water quality problems in Oregon. Reduces the ability of cold-water species to survive pathogens and inhibits normal life functions. Higher stream temperatures also lower dissolved oxygen levels. |
| Zinc | At elevated levels, this metal is toxic to aquatic organisms. |

The Marion County SWMP does not directly address wetland regulations.  Regulatory responsibility for wetlands lies with the Oregon Division of State Lands and the U.S. Army Corps of Engineers.  However, the important role of wetlands in the detention and cleaning of stormwater will be included in educational materials where appropriate.

PROGRAM GOALS

- Reduce the discharge of pollutants to the “maximum extent practicable” (MEP);

MEP is a Clean Water Act standard that establishes the level of pollutant reductions that MS4 operators must achieve through implementation of a storm water management program. The strategies used to reduce pollutants to the MEP may be different for each small MS4 because of unique local hydrologic, geologic, and water quality concerns in different areas. EPA envisions that permittees will determine what the MEP is on a location-by-location basis and consider such factors as conditions of receiving waters, specific local concerns, and other aspects of a comprehensive watershed plan.

(US EPA, Website: http://cfpub2.epa.gov/npdes/stormwater/measurablegoals/part1.cfm

#small,2004)

- Protect water quality

Protection of water quality includes efforts to improve water quality in polluted water bodies listed by the state and also to protect those waterbodies that currently meet state standards.

- Satisfy the appropriate water quality requirements of the Clean Water Act

###### Marion County is complying with the Clean Water Act through the development of an NPDES permit and through response to TMDL requirements as they are established.

###### See Background: Federal and State Regulations

- Program Integration and Regional Coordination

Wherever practical, Marion County will work to integrate the SWMP with existing water quality enhancement activities.  This includes coordination with the cities of Keizer, Salem, and Turner, the Marion Soil and Water Conservation District, and local watershed councils. This integration also includes close coordination with existing county programs, such as the Environmental Services education program for solid waste and land use planning activities. Approaching water quality issues through a coordinated effort will increase the effectiveness of the Marion County SWMP and also lower the costs of program implementation.

Related programs underway at Marion County Department of Public Works

Best Management Practices for Salmon Recovery (ESA program)

Stormwater detention study (Study of regional detention needs in east Salem)

Title III funding for water quality education projects (Land Use Planning project)

Goal 5 planning (Land Use Planning project)

IMPLICATIONS FOR STORMWATER SYSTEM USERS

Residents – Residents can expect to see increased activity by county staff in the stormwater area.  There will likely be increased street sweeping, catch basin cleaning, and litter clean-up.  Additionally, homeowners can expect opportunities to learn more about the things they can do to protect water quality.  This will include information on tree planting, proper disposal of household hazardous waste, and general information on local water quality issues.  Homeowners will also have a hotline to call to report illegal dumping or other non-compliance issues.  Residents in the East Salem Service District (ESSD), the area of the SWMA that is most intensely developed, will be part of a more intensive education and maintenance program to address the needs of that area.  This program will incur additional costs that will be covered through a fee increase in ESSD stormwater charges.  The fee increase will be developed through a public participation process during plan year ’04-‘05.

Businesses  - Like SWMP area residents, business owners in this area will see an increase in county maintenance activity.  Business owners can expect to receive information on water quality during the implementation of this plan.  This information will provide suggestions on how their activities can have an effect on water quality.  Businesses in the East Salem Service District (ESSD), the area of the SWMA that is most intensely developed, will be part of a more intensive education and maintenance program to address the needs of that area.  This program will incur additional costs that will be covered through a fee increase in ESSD stormwater charges.  During development of the fee schedule, the county will analyze the relative impact of businesses vs. residences by considering criteria such as the typical amount of impervious surface (roofs, parking lots, etc.) that exacerbate stormwater run-off quantities and reduce quality.

Agriculture – Agricultural producers in the stormwater management area will primarily be approached through existing programs offered by the Oregon Department of Agriculture, the Cooperative Extension Service (CES), and the Marion Soil and Water Conservation Service (SWCD).  Their agriculturally-oriented programs were developed, in part, through Senate Bill 1010 and the subsequent development of the “Mololla-Pudding-French Prairie-North Santiam Subbasins, Agricultural Water Quality Management Plan.”   Additionally, federal and state laws already prohibit the pollution of waters of the state as outlined in ORS 468B.025, ORS 468B.050, and the federal Clean Water Act.  Marion County will work with SWCD and CES to ensure that their educational programs are reaching agricultural producers in the SWMA.  The SWMP will not expand on regulations already addressing agricultural water quality.

Builders / New Construction - New construction and redevelopment are currently subject to erosion control requirements under the federal Clean Water Act as implemented by Oregon DEQ on behalf of US EPA.  Under these regulations, if a property owner disturbs one acre or more of soil surface then they must secure a “1200-C” permit from DEQ.  This permit requires the submission and approval of an erosion control plan.  Marion County will consider assuming authority for this program during year 3 of the SWMP.  The County will form a working group that includes builders and developers to consider the most efficient way to approach this issue as well as issues surrounding stormwater detention requirements.

PUBLIC PARTICIPATION PROCESS

In order to provide a fair and open public participation process, Marion County enlisted the help of a task force composed of different stakeholder groups.  This thirteen-member panel worked with county staff to design a public participation program for the development, implementation, and evaluation of the SWMP.

Task Force Participants:

Environmental:
Scott Eden, Pudding River Watershed Council

Bob Roth, Salem Area Watershed Councils

Agriculture:
Monte Graham, Soil & Water Conservation District

Ray Schreiner, Schreiner's Gardens

Business/Developers:
Len Lodder, Studio 3 Architecture Inc.

Bob Pankratz (ESSD resident also), Pioneer Engineering

Education:
Ryan Kinnett, The 21st Century Schoolhouse

Resident:
Paul Andresen

Robert Pankratz

Earl Horton

Government:

Rob Kissler, Director, City of Keizer Public Works

Steve  Downs, City of Salem Public Works

Richard VanOrman, Acting Administrator, City of Turner Public Works

Nitin Joshi,City of Salem Public Works

Task Force meetings were publicly noticed and provided a time period for public comment before each session.  For Open House #1, 2,500 invitations were mailed to residents and businesses near ditches and waterways in the SWMA. Additionally, the open house was publicly noticed in the Keizer Times and Statesman Journal; posted at Public Works’ front desks and website; and posted at Fred Meyers, Wal-Mart, and the Salem Public Library. Open House #2 public notice followed a similar process, but instead of direct mass mailings, the county issued a press release to various radio stations and CCTV. A number of stakeholder groups, such as the Marion Polk Building Industry Association, water control districts, and neighborhood associations were notified for both open houses via direct mail invitations.

- July 30, 2003, 5:00 p.m. - Task Force

- August 27, 2003, 5:00 p.m. - Task Force

- September 25, 2003, 5:00 p.m. - Task Force

- October 22, 2003, 5:00 p.m. - Task Force

- November 24, 2003, 5:00 p.m. - Task Force

- December 15, 2003, 5:30 p.m. - Open House

- December 17, 2003, 5:00 p.m. - Task Force

- January 28, 2004, 5:00 p.m. - Task Force

- February 4, 2004, 5:30 p.m. - Open House

- February 18, 2004, 10:00 a.m., Public Hearing by BOC

- February 25, 2004, 10:00 a.m. – Public Testimony & Adoption by BOC

- February 25, 2004, 5:00 p.m. - Task Force

# IMPLEMENTATION TIMELINE

Specific elements of the SWMP will be implemented over the next four years of the program (2004-2008). Following is a summarized timeline of the major program elements. See Minimum Control Measures 1-6 for additional detail on the implementation schedule.

| Program Component | Implementation Schedule |
| --- | --- |
| 1. Public Education & Outreach | Education for SWMP development '03, Education on stormwater quality '04 |
| 2. Public Participation and Involvement | Participation in development 03, Participation in implementation & review '05 |
| 3. Illicit Discharge Detection and Elimination | Education will begin in '04, Mapping completed in '05, Ordinance established '06 |
| 4. Construction Site Run-off Control | Ordinance development '05, Implementation and enforcement '06 |
| 5. Post-Construction Run-off Control | Ordinance development '06, Implementation and enforcement '07 |
| 6. Pollution Prevention - Good Housekeeping.. | Implementation beginning in '04 |

##### PROGRAM COSTS & FINANCING

Costs of Program – Once Marion County’s response to the six minimum control measures were prepared, estimates of staff time and expenses in executing the program were generated.  These estimates were shared with management and staff responsible for executing the program, as well as the Task Force and the public through public meetings as well as the county’s website.  The NPDES Phase II program components are listed essentially in a sequential order similar to how an agency would carry out implementation.  Logically, the staffing and expenses follow this sequencing as the county carries out implementation over the five-year permit duration.  Early public education, participation and outreach as well as ordinance development and staff training are replaced by full implementation activities of the newly established programs.  The early development efforts were balanced with later implementation in a way that leveled staffing and program costs.

Allocation of Costs – After development of program staffing and expenses for the six minimum control measures, these costs were distributed to seven potential funding sources;  permit fees, East Salem Service District (ESSD), Road Funds, Solid Waste Funds, Land Use Planning Division, Title III (or other grant funds) and external sources.  Permit fees will directly offset the cost program activities that require permits, such as land development and redevelopment.  The most densely populated area within the MS4 boundary is also within the East Salem Service District, a special district that provides sanitary sewer and stormwater system maintenance services.  The maintenance of public right-of-ways within the MS4 are funded by Gas Taxes and includes the maintenance of stormwater facilities along side and crossing roadways.  Both Solid Waste and Planning Division involvement represents a very small portion of program expenses and is limited to staff time involved in coordinating program administration.  Title III funds are federal forest funds that may be able to be used for student education purposes.  (If Title III funds are not compatible with this program, other grant funding will be pursued.)  External sources are outside agencies that are currently conducting activities similar to the requirements of the program.

The MS4 area is comprised of the densely populated area of the ESSD bounded by Hazelgreen Road to the north, Cordon Road to the east, Highway 22 to the south and Salem city limits to the west.  The remaining area of the MS4 is comprised of more sparsely populated areas with agricultural, rural residential and urban transition properties.  Due to the distinct differences in these two areas, program implementation efforts will be commensurate with population densities.  These differences in implementation will provide more efficient distribution of program services.

PROGRAM ADMINISTRATION AND EVALUATION (PERFORMANCE MEASURES)

Program Administration

Marion County Department of Public Works is responsible for the development, implementation, and monitoring of this Stormwater Management Plan.  The Public Works Department consists of 185 full-time and 24 part-time employees.    It includes operations, engineering, dog control, building inspections, land use planning, environmental services (solid waste and parks), and administration.  Staff involved in the implementation of various elements of the program will include: environmental specialists, field operations staff, planners, and engineers.  The director of Public Works and the County Board of Commissioners will provide program oversight.  MCPW will work closely with surrounding municipalities, watershed councils, the Marion Soil and Water Conservation District, and other stakeholder groups to provide complete program delivery.  Through close collaboration with internal divisions and these stakeholder groups, MCPW will be able to meet the requirements of NPDES Phase II.

Evaluation & Adaptive Management

Permittees need to evaluate the effectiveness of their chosen BMPs to determine whether the BMPs are reducing the discharge of pollutants from their systems to the “maximum extent practicable” and to determine if the BMP mix is satisfying the water quality requirements of the Clean Water Act. Permittees are also required to assess their progress in achieving their program’s measurable goals. While monitoring is not required under the rule, the NPDES permitting authority has the discretion to require monitoring if deemed necessary. If there is an indication of a need for improved controls, permittees can revise their mix of BMPs to create a more effective program.  (ODEQ)

The SWMP outlines measurable goals for each of the best management practices. These measurable goals do not require collection of water quality data, but instead focus on measuring the successful implementation of the BMPs. Marion County will collect data on program implementation during the course of the year and evaluate the program annually. The program will also track new TMDL listings and 303(d) listings.  When new information of this type is available for local watersheds, the County will adjust its program to address the new listings.  Additionally, Marion County will use adaptive management techniques to address specific pollutants through the SWMP.  As we begin implementation of the plan, there may be a need to shift focus between specific pollutants and specific program areas.  Unless noted otherwise in the best management practices, these adaptations will typically occur during the annual evaluation process, which allows for discussions with affected stakeholder groups.

GLOSSARY OF STORMWATER and WATER QUALITY TERMS

# Adopted from the City of Salem’s Stormwater Master Plan

Alluvial Deposits: Within a soil’s profile, the layers of clay, silt, sand, gravel or similar, material deposited by running water.

Anadromous Fish: Fish (particularly salmon, steelhead and cutthroat trout) that swim upstream from the ocean to breed.

Anaerobic: Living or active in the absence of oxygen.

Aquifer: An underground area that contains water in sufficient amounts to yield useful quantities to wells and springs.

Aquifer Storage and Recovery (ASR): The process of storing treated drinking water in an aquifer when water supply exceeds demand and withdrawing the water when supplies are low and/or demands are high.

Backwater: The water retarded (backed-up) above an impediment or into a tributary by a flood in the main stream.

Backwater Effects: The hydraulic effects within an upstream waterway or stormwater conveyance system that is experiencing backwater caused by a downstream restriction or flooded receiving stream.

Bank: The margins of a stream channel, called right or left as viewed facing the direction of flow.

Base Flood: Flood having a one percent (1%) chance of being equaled or exceeded in any given year (a.k.a. the “100 year flood”).

Basin: A hydrologic land area in which all surface water flows toward a particular stream, river, other body of water, or common point of discharge.  May be the same as the watershed, or may be a smaller distinct drainage area within a larger watershed.

Bed Load Transport: Sediment transport along the bottom of a waterbody due to its currents.

Berm: An earthen mound used to direct the flow of runoff around or through a structure.

Best Management Practices (BMPs): Activities or structural improvements that help reduce the quantity and/or improve the quality of stormwater runoff and receiving stream water quality. BMPs include treatment requirements, operating procedures, and practices to control site runoff, spillage or leaks, sludge or waste disposal, or drainage from raw material storage.

Biochemical Oxygen Demand, BOD: The quantity of dissolved oxygen used by microorganisms in the biochemical oxidation of organic matter and oxidizable inorganic matter by aerobic biological action.

Bioengineering: The use of natural, non-structural solutions to provide streambank stabilization and water quality treatment within drainage/flood control and stormwater management systems.

Buffer Strips, Zones or Setbacks: Strips of grass or other erosion resistant native vegetation located between a waterway and an area of more intensive land use.  They are typically of sufficient width to minimize entrance of sediment or chemicals (fertilizers, herbicides, and pesticides) into the waterbody.

Calibration: A process by which a computer-based hydrologic/hydraulic model is checked for its accuracy and authenticity using field collected data from within the modeled system during storm events.

Catch Basin: An entryway to the storm drain system, usually located at street corners.

Catchment: A small subbasin, typically ranging from 20 to 250 acres in size, that is used to provide more detailed hydrologic information for the development of a hydrologic/hydraulic model.

cfs:  A measure of water flow, cubic feet per second.

Channel: A natural or artificial watercourse of perceptible extent which periodically or continuously contains moving water.  It has a definite bed and banks which serve to confine the water.

Channelization and channel modification: River and stream channel engineering for the purpose of flood control, navigation, drainage improvement, and reduction of channel migration potential.  Channelization projects increasingly incorporate natural streambank stabilization methods (bioengineering) and restored/enhanced habitat.

Check Dam: A small dam constructed in a channel to decrease the stream’s flow velocity, minimize channel scour and promote the controlled deposition of sediment.

Clay Blanket: A natural or constructed layer of clay within the soil that impedes the downward migration of water and prevents or minimizes infiltration into the groundwater.

Concentration: A measurement of the amount of a constituent or contaminant in a given volume of water; often expressed in terms of milligrams per liter, pounds per million gallons, or parts per million.

Conduit: Any channel or pipe used to transport flowing water.

Confluence: The place where two or more streams or open waterways flow together.

Conjunctive Use: A stormwater facility that is designed and used to serve multiple uses, such as a regional detention basin that is used as a park or playground during non-storm periods.

Constructed Wetland: Engineered system designed and constructed to simulate natural wetlands to utilize the stormwater or wastewater treatment functional value for human use, environmental benefits, aesthetic values, mitigation for disturbed natural wetlands, or creation of new wetlands to achieve the benefits associated with natural wetlands..

Conveyance: The process of moving water from one place to another.

Conveyance System: Physical system that carries stormwater or wastewater.  Every basin or subbasin has a stormwater conveyance system, whether it is natural or manmade, planned or unplanned.

Culvert: A short, closed (covered) conduit that passes stormwater runoff under an embankment, usually a roadway. A rectangular or square concrete culvert is referred to as a box culvert.

Cumulative: Term refers to the combined environmental impacts that accrue from a series of similar or related individual actions, contaminants or projects.  Although each action may seem to have an acceptable impact, the combined effect can be severe.

CWA: The Clean Water Act (formerly the Federal Water Pollution Control Act or Federal Water Pollution Control Act Amendments of 1972).

DEQ: Oregon Department of Environmental Quality.

Design Storm: A rainfall event that statistically has a specified probability of occurring in any given year (expressed either in years or as a percentage).  For example, a 100-year storm has the statistical probability of occurring once in 100 years, or 1% (0.01).  The selected design storm serves as the basis for predicting the amount of rainfall and resulting stormwater runoff flow that a particular component of the stormwater drainage system must accommodate.

Detention: A stormwater facility that delays the downstream progress of stormwater runoff in a controlled manner. This is typically accomplished using temporary storage areas and a controlling outlet device.

Detention Basin: A facility that is capable of detaining stormwater runoff until it can be released without causing damage (or reduces damage) downstream.

Dewatering: The process of lowering the groundwater table, or the water level in an excavation, through the use of pumps which discharge to a conveyance system or waterway.

Dike: An engineered embankment used to confine or control water. Dikes are often constructed along the banks of a river to prevent overflow; a levee.

Discharge: The volume of water (and suspended sediment if surface water) that passes a given location within a given period of time.

Dissolved Oxygen, DO: The concentration of free molecular oxygen in the water column.  DO is one of several common measurements/indicators of a stream’s or waterbody’s health.

Diversion: The taking of water from a stream or other body of water into a canal, pipe or other conduit.  The term is also used when water is directed from one drainage basin into another.

Drainage: A general term applied to the removal of surface or subsurface water from a given area, either by gravity or by pumping.  The term is commonly applied to surface water.

Drainage Area: The contributing area of a single drainage basin, expressed in acres, square miles or other unit of area.  Also called catchment, basin, or watershed.

Drainage Basin: Geographic region in which all surface water flows toward a particular receiving stream or other body of water.

DSL: Oregon Division of State Lands.

E-coli (Escherichia coli) bacteria: A type of coliform bacteria that is entirely of fecal origin, used as an indicator of fecal pollution in surface water.

Effective Impervious Area: That impervious area, expressed as a percentage of the total drainage area, having a direct hydraulic link to a formal drainage system.

Effluent: Liquid leaving a facility or household into a water body or sewer system (e.g., treated liquid discharged from a wastewater treatment plant is the plant’s effluent).

Embankment: An artificial bank such as a mound or dike, generally built to hold back water or carry a roadway.

Enhancement: Efforts undertaken to increase the quantity and/or improve the quality of habitat and aesthetic characteristics of a waterway and its associated riparian area.

EPA: U.S. Environmental Protection Agency.

Equivalent Dwelling Unit (EDU): A unit of measurement or consumption that represents the average use of a utility system by a typical dwelling unit (single family residence).  For stormwater, an EDU is often based on impervious area, expressed in terms of square feet.  For water and sanitary sewer, an EDU is often expressed in terms of cubic feet or gallons (per day or month).  The charges to other users are then measured relative to the demands of the typical dwelling unit.  Instead of using “EDU”, some jurisdictions use “Equivalent Residential Unit, ERU” or “Equivalent Service Unit, ESU”.  The basic concept is the same.

Erosion: When land is diminished or worn away due to wind, water, or glacial ice. Often the eroded debris (silt or sediment) becomes a pollutant via stormwater runoff.  Erosion occurs naturally but can be intensified by land clearing activities such as farming, development, road-building, and timber harvesting.

ESA: Endangered Species Act.

Eutrophication: Excessive levels of organic material and nutrients in surface water which lead to a decrease in dissolved oxygen levels. Often characterized by excessive growth of algae and aquatic vegetation (such as algae blooms), which in turn often result in deteriorated water quality.

Excavation: The process of removing earth, stone, or other materials from land.

Exotic Plants: Non-native plants that grow quickly, out-compete native plants, and are a threat to the natural ecosystem when they “escape” from home gardens..

Fecal Coliform: Bacteria present in mammalian feces used as an indicator of the presence of human, animal or waterfowl feces, bacteria, viruses and pathogens in surface or ground water.

FEMA: Federal Emergency Management Agency.

FEMA Stream: A stream that is subject to significant flooding, has been studied/hydraulically modeled by FEMA, and for which a floodway and floodplain have been formally established under FEMA’s National Flood Insurance Program.

Fertilizer: Any organic or inorganic material of natural or synthetic origin that is added to the soil or soil’s’s surface to supply elements (especially nitrogen and phosphorous) essential for plant growth.  Excess or inappropriate applications can runoff or infiltrate into the groundwater, degrading water quality and threatening fish and other aquatic life.

Filter Fabric: A textile of relatively small mesh that is used to allow water to pass through while keeping sediment out (permeable); or prevent both runoff and sediment from passing through (impermeable).

Filter Strip: A long, narrow portion of vegetation used to retard water flow and collect sediment and other water-borne pollutants for the protection of watercourses, reservoirs, or adjacent properties.

Flood: A temporary rise in flow or stage of any watercourse or stormwater conveyance system that results in stormwater runoff exceeding its normal flow boundaries and inundating adjacent, normally dry areas.

Flood Control: The elimination or reduction of flood losses by the construction of flood storage reservoirs, channel improvements, dikes and levees, bypass channels, or other engineering works.

Flood Management: The elimination or reduction of flood losses by the control or use of land subject to flooding and/or the construction of flood storage reservoirs, channel improvements, dikes and levees, bypass channels, or other engineering works.

Floodplain: Any land area susceptible to temporary inundation by stormwater or floodwater from an adjacent watercourse.

Floodway: Actively flowing channel of a stream, river or other watercourse that must be reserved for passage of the base flood.

Flow Channel Liner: A covering or coating used on the inside surface of a flow channel to prevent the infiltration of water to the ground; also lowers the channel’s roughness factor to improve hydraulic conveyance.

Flow Meter: A gauge that shows the speed or rate of water moving through a conveyance.

Freeboard: The vertical distance between the normal high water surface of a detention basin or open channel and the top of the berm/dike or channel.  It serves as a margin of safety to accommodate extraordinarily large storms and provides a safety factor for a berm/dike’s structural integrity.

Free Groundwater: Unconfined groundwater whose upper surface is the water table that does not have an impermeable/restrictive soil layer above it.

Gabion: A rectangular steel or PVC-coated steel wire basket or mattress, filled with rock, and placed integral with or next to a streambank to form a heavy mass for erosion protection.

Gaging/Gauging Station: A station within a stormwater conveyance facility or stream where a continuous record of flow is measured.

GIS, Geographic Information System: An electronic, computer-based system for storing, retrieving and displaying geographical, physical and infrastructure system information.

Goal 5: Entitled “Open Spaces, Seismic and Historic Areas and Natural Resources”, one of Oregon’s Statewide Planning Goals, with the expressed goal being “to conserve open space and protect natural and scenic resources.”

Grade: The inclination or slope of a channel, canal, conduit, pipe, or natural ground surface, usually expressed in terms of the percentage of the number of feet of vertical rise or fall per foot of horizontal distance. (e.g., a one foot vertical drop in 100 feet of horizontal distance, or 1:100, or 0.01 grade, or 1% grade).

Grading: The cutting and/or filling of the land surface to a desired slope or elevation.

Groundwater: That portion of the water beneath the surface of the earth that can be collected with wells, tunnels, or drainage galleries, or that flows naturally to the earth's surface via seeps or springs.

Habitat: Specific area or environment in which a particular type of plant or animal lives.  An organism’s habitat must provide all of the basic requirements for life and should be free of harmful contaminants.

Head: The vertical height of water within a pipe, water conveyance component, or detention basin.

Head/Wingwall: The structural features at the inlet and outlet of a culvert installation. Often constructed of concrete or rock riprap/gabions, they serve to dissipate a stream’s erosive force and protect the streambank and roadway embankment.

Holding Pond: A pond or reservoir, usually made of earth, built to store water runoff for a limited time.

Hydraulics: A branch of science that deals with the practical applications of the mechanics of water movement.

Hydric: Characterized by, relating to, or requiring an abundance of moisture.  Often associated with soils and one of the criteria used for determining the presence of a wetland (i.e. hydric soils).

Hydrograph: A curve obtained by plotting water flow versus time that results from a particular rain storm.

Hydrology: A branch of science that is concerned with the origin, distribution and properties of the waters of the earth.

Hydrostatic Pressure: Pressure in a liquid while at rest, or that exerted by a liquid on an immersed body.

Hyetograph:   A graph showing the rainfall distribution of a 24-hour storm, volume versus time.

Illicit Connection/Discharge: Any discharge to a municipal separate storm sewer that is not composed entirely of stormwater, and is not authorized by an NPDES Municipal Stormwater Permit or other NPDES Permit.

Impervious Surfaces: Surfaces that water does not penetrate such as concrete, asphalt or roofs.

Infiltration: The penetration of water through the ground surface into sub-surface soil or the penetration of water from the soil into sewers or other pipes through defective joints, connections, or manhole walls. Also, a technique where large volumes of stormwater are applied to land or its subsurface and allowed to percolate through the underlying soil.

Inlet: An entrance into a ditch, storm sewer, or other waterway.

In-stream Storage/Detention: Storage/detention ponds which are physically built in the channel area.  This is in contrast to off-stream storage/detention which is not physically in the main channel of a drainage system.

Invert: The bottom of the lowest portion of the internal cross-section of a conduit, used particularly with reference to sewers and culverts.

Isopluvial Maps: Also known as isohyetal maps, these maps are plots of the 24-hour rainfall volume (as contours) over a given geographical area.

Large Municipal Separate Storm Sewer System (MS4):  An MS4 located in an incorporated area with a population of 250,000 or more, as determined by the latest U.S. Census. (e.g. Portland, Seattle, etc.)

Leaching: The process by which soluble materials are dissolved in a solvent, such as water, and carried down through the soil.

Lithic Formation: Geologic rock formations or deposits that are often alkali (base) in characteristics.

Local Wetland Inventory, LWI: A scentifically-based study, within a community or similar geographical area, to identify lands that meet the established regulatory definition of a jurisdictional wetland.

Locally Significant Wetland: A wetland, identified through a Local Wetland Inventory or other means, that has been determined to be significant to the community or governing agency and therefore warrants special protection.

Manning’s “n” Value: An empirical measure of the roughness of a conveyance surface that is used to calculate runoff flow rates.

Medium Municipal Separate Storm Sewer System (MS4): MS4 located in an incorporated area with a population of 100,000 or more but less than 250,000, as determined by the latest U.S. Census.

Metals: Elements such as mercury, lead, nickel, zinc, copper, chromium and cadmium that are of environmental concern.  They are sometimes accumulated in the food chain and can be toxic to life in high enough concentrations.  Many are also necessary nutrients, but in very low concentrations.  Also called heavy metals, they are often found in urban stormwater runoff from streets and highways.

Mgd: Million gallons per day.

Minimum Control Measures:  The six elements required for a NPDES Phase II permit (includes: 1) Education and Outreach, 2) Public Involvement and Participation, 3) Illicit Discharge Detection and Elimination, 4) Construction Site Stormwater Runoff Control, 5) Post-Construction Stormwater management in New Development and Redevelopment,  6) Good Housekeeping for Municipal Operations.)

Monitor: To systematically and repeatedly measure and/or inspect something in order to track changes.

Monitoring Well: A non-pumping well used for drawing groundwater quality samples or measuring the depth of the groundwater.

MS4, Municipal Separate Storm Sewer System: A stormwater collection and conveyance system that is designed and constructed to carry only stormwater and drainage water, as opposed to a combined sewer system that intentionally conveys both stormwater and wastewater.

Mulch: A natural or artificial layer of plant residue or other material(s) covering the land surface to conserve moisture, hold soil in place, help establish plant cover, and minimize temperature fluctuations.

Native Plants: Plants that are found by nature in a geographic location. Generally it is preferable to use native plants vs. exotic plants, as introducing exotic plants can disturb the natural ecosystem.

NOAA-F: National Oceanic and Atmospheric Administration - Fisheries, Federal agency responsible for implementation of the Endangered Species Act listing for salmon and steelhead.

Non-point Source (NPS) Pollutants: Pollutants from many diffuse sources. NPS pollution is caused by rainfall or snowmelt moving over and through the ground. As the runoff moves, it picks up and carries away natural and human-made pollutants, finally depositing them into lakes, rivers, wetlands, coastal waters, and even our underground sources of drinking water.

NPDES, National Pollutant Discharge Elimination System:  The name of the surface water quality program authorized by Congress as part of the 1987 Amendments to the Clean Water Act. This is EPA's and DEQ’s program to control the discharge of pollutants to waters of the United States (see 40 CFR 122.2).

Nutrients: Essential chemicals (e.g., nitrogen, phosphorus) needed by plants or animals for growth.  Excessive amounts of nutrients can lead to degradation of water quality (e.g., reduced levels of dissolved oxygen) and growth of excessive amounts of algae.  Some nutrients can be toxic to fish and other aquatic species at low concentrations and to humans at high concentrations.

ODFW: Oregon Department of Fish and Wildlife.

Oil and Grease Traps: Devices that collect oil and grease, removing them from water flows.

Oil Sheen: A thin, glistening layer of oil on the surface of water.

Oil/Water Separator: A device installed (usually at the entrance to a storm drain) to remove oil and grease from water entering the drain.

On-Site Detention Facility: A relatively small facility (typically privately owned) that is adjacent to the area directly contributing stormwater to it (subdivision, commercial/industrial facility, etc.). It may be an open basin/dry pond, oversized buried pipe or series of pipes, or a parking lot that temporarily detains large storm flows to reduce downstream flows.

Organic Pollutants: Substances containing carbon which may cause pollution problems in receiving bodies of water because they biologically (biochemically) decompose. depleting the water’s dissolved oxygen.

Organic Solvents: Liquid organic compounds capable of dissolving solids, liquids or gases.

Orifice: An engineered piping or structure opening that is configured to limit the rate of flow discharged to a downstream stormwater conveyance system; most commonly associated with stormwater detention facilities.

Outfall: The point where treated wastewater or stormwater/drainage discharges from a sewer pipe, ditch, or other conveyance to a receiving body of water.

Percolate: To trickle through a permeable substance, such as water through gravels or sandstone.

Permeability: The characteristic of soil that allows water or air to move through it. Described as a rate in terms of inches/hour or inches/day.  Water moves more quickly through sand than clay.  Therefore, sand has a higher permeability (is more permeable) than clay.

Pervious Surfaces: Surface conditions that permit rainfall to soak into the ground.

Phyto-Filtration: Using plants and trees to filter impurities or excessive levels of nutrients or other pollutants from water.

Plunge Pool: A basin used to slow flowing water.  The pool may be protected from erosion by various lining materials.

Point Source Pollutant: Pollutants from a single identifiable source such as a factory or refinery.

Pollutant: Contaminant in a concentration or amount that adversely alters physical, chemical or biological properties of the environment.  The term includes pathogens, toxic metals, carcinogens, oxygen-demanding materials, and all other harmful substances.

Pollutant Loading: The total quantity of pollutants in stormwater runoff, typically expressed in terms of pounds/day.

Porous Pavement: A man-made surface that allows water to penetrate through and percolate into soil.  Porous asphalt, for example, is made of irregularly shaped crush rock pre-coated with asphalt binder.  Water is able to seep through into lower layers of gravel, then to the soil.  Porous concrete is also made.

Qualified Public Improvement: As used in utility system development charge (SDC) methodologies, an improvement that is required as a condition of development approval, identified in the community’s capital improvement plan or utility-specific master plan, and is either:

1.	not located on or contiguous to property that is the subject of development approval, or

2.	located in whole or in part on or contiguous to property that is the subject of development approval and required to be built larger or with greater capacity than is necessary for the particular development project to which the improvement fee (SDCi) is related.

Rainfall Intensity Duration Frequency Curves: A series of curves showing rainfall intensity used in the Rational Method of peak flow calculations, based upon frequency of storm and measure of time.

Rate of Runoff: Runoff volume and rate expressed in cubic feet per second, gallons per minute, etc.

Rational Method: A widely used design equation for determining the rate of runoff from small drainage basins.  Expressed as qp = CiA, where qp is the volume runoff in acres-inches per hour; C is a runoff coefficient reflecting the basin’s percent of impervious surface area, soils and topography; i is the average rainfall intensity in inches/hour; and A is the basin’s area in acres.

Reach: Any length or section of river, stream or channel.

Receiving Waters: Body of water that receives drainage or effluent from a particular location.

Recharge: Re-supplying of water to an aquifer.  Recharge generally comes from snowmelt and stormwater runoff.

Regional Detention Facility: A relatively large facility, typically publicly owned, that delays the downstream progress of stormwater runoff in a controlled manner. This is typically accomplished using temporary storage areas and a metered outlet device or orifice.

Residual: The amount of pollutant that remains in the environment after a natural or treatment process has taken place, such as the suspended solids remaining in water after a period of quiescent settling.

Retention: A process that halts the downstream progress of stormwater runoff. This is typically accomplished using total containment involving the creation of storage areas that use infiltration devices (such as dry wells) to dispose of stored stormwater via percolation over a specified period of time.

Retrofit: The modification of stormwater management facilities through the construction and/or enhancement of wet ponds, wetland plantings, or other BMPs designed to improve water quality or quantity.

Return Interval: As related to storms, the time period between storms of a particular magnitude that can statistically be expected to occur (i.e. 100-year storm).

Reuse: The application of reclaimed water for a beneficial purpose.

Rill Erosion: The formation of several closely spread streamlets caused by uneven removal of surface soils by stormwater or other water.

Riparian Corridor: Perennial or intermittent water body, its lower banks and upper banks, and associated vegetation that stabilizes the slopes, protects the waterways from erosion and sedimentation, provides cover and shade, and maintains fish and wildlife habitat.

Riprap: Armor-plating materials usually consisting of large rock to prevent erosion along the banks of a channel, stream or river.

Runoff:  Drainage, stormwater or flood discharge that leaves an area as surface flow or as pipeline flow.

Runoff Control: Physical devices that are used to release runoff from an area at a prescribed rate.

Sanitary Sewer System: A system of underground pipes that carries sanitary waste or process wastewater to a treatment plant.

Scour: Clearing and digging of a stream channel’s bottom or side walls caused by the flow of water, such as the downward erosion that results when stream water sweeps away mud and silt from the stream bed and banks of a channel or stream.

Secondary Containment: Structures, usually dikes or berms, surrounding tanks or other storage containers to catch spilled material.

Sediment: Soil, sand, and minerals washed from land into water, usually after rain.  Sediment can smother and destroy fish-nesting areas, clog animal habitats, cloud waters so that sunlight does not reach aquatic plants, and reduce conveyance system capacity and thereby causing flooding.

Sediment Trap: A device for removing sediment from water flows, usually installed at points of outflow.

Sedimentation: The process of depositing or settling soil, clay, sand, gravel or other sediments that were moved by the flow of water.

Settleable Solids: Solids in a liquid that can be removed by allowing the water to be still and the particles to settle over a given period of time (typically one hour).

Sheet Erosion: Erosion of thin layers of surface materials caused by continuous sheets (thin, even layers) of running water.

Siltation: The accumulation of eroded soil particles (typically fine grained materials) on the bottom of a stream bed.  Silt can clog gravel beds and prevent successful fish spawning.  Over time, the accumulated materials reduce the capacity of the pipe, channel or stream to pass water.

Slide Gate: A device to control the flow of water through stormwater conveyances.

Slumping: A sudden drop, collapse or droop of the land’s surface, often caused by saturated soils and subsurface water flows.

Small Municipal Separate Storm Sewer System (MS4):  MS4 located in an area serving a population less than 100,000, as determined by the latest U.S. Census.

Soil Conservation Service, SCS: A division of the U.S. Department of Agriculture, now known as the Natural Resources Conservation Service (NRCS).

Source Control: Control of runoff waters and/or wastes before they enter public stormwater or wastewater conveyance systems.

Spill Prevention Control and Countermeasures (SPCC) Plan: Plans to prevent or respond to spills of petroleum products or hazardous substances as defined in the Clean Water Act.

Storm, 10-year: A rainfall storm that statistically occurs once every 10 years, or a 10 percent recurrence interval (0.10).

Storm, 25-year: A rainfall storm that statistically occurs once every 25 years, or a 4 percent recurrence interval (0.04).

Storm, 100-year: A rainfall storm that statistically occurs once every 100 years, or a 1 percent recurrence interval (0.01).

Storm Drain: A slotted opening leading to an underground pipe or an open drainageway for carrying surface runoff.

Stormwater: Precipitation that accumulates in natural and/or constructed storage and stormwater systems during and immediately following a storm event.

Stormwater Charge: A means of establishing a dedicated and reliable source of revenue based on user fees rather than taxes to help solve stormwater management problems. This steady revenue source ensures that funds will be available to support a local stormwater management program.

Stormwater Diversion: The engineered redirection of stormwater flows to another point located within or outside of the watershed to reduce downstream flooding.

Stormwater Facilities: Systems such as watercourses, constructed channels, storm drains, culverts, and detention/retention facilities that are used for the conveyance and/or storage of stormwater runoff.

Stormwater Management: Functions associated with planning, designing, constructing, operating, maintaining, financing, and regulating the infrastructure facilities (both constructed and natural) that collect, store, control, and/or convey stormwater.

Stormwater System: The entire assemblage of stormwater facilities located within a watershed.

Stormwater Utility: A governmental management structure/agency designated to manage, operate and maintain the public stormwater system.

Stormwater Wetlands: Those wetlands that are intentionally created for the primary purpose of runoff treatment (water quality facilities) and are managed as such.  They are normally considered as part of the stormwater runoff collection and treatment system.

Stream Enhancement: Efforts undertaken to increase the quantity or improve the quality of habitat and aesthetic characteristics of a waterway and its associated riparian area.

Stream Habitat: The naturally occurring environment within or adjacent to a stream that supports aquatic species and wildlife.

Stream Stabilization: Engineered or “constructed” efforts to structurally or naturally (bioengineered) preserve and improve a stream’s structural integrity and minimize erosion.

Structural Control Measures: Includes the placement of pipes, channel resizing, streambank protection, and detention facilities to control runoff from a drainage basin or catchment area.

Subsoil: The bed of earth lying below the surface soil.

Sump: A pit or tank that catches liquid runoff or groundwater seepage for drainage or disposal.  Also, the bottom volume of a catch basin that accumulates solids that settle out within the catch basin.

Surcharge/Surcharging: A condition within a storm sewer or culvert in which the generated stormwater flow exceeds the hydraulic capacity of the pipe, resulting in backwater conditions upstream from the specific conduit, and/or flooding within and/or overflows from associated manholes.

Surface Impoundment: Treatment, storage, or disposal of liquid wastes in ponds.

Surface Runoff: That part of runoff that travels over the land surface to the nearest conveyance system element or stream channel.

Surface Water: Water that remains on the surface of the ground, including rivers, lakes, reservoirs, streams, wetlands, impoundments, seas, estuaries, etc.

Suspended Solids: Particles of organic or inorganic matter suspended in water.  Toxicants may adhere to these solid particles which can intensify chemical pollution problems.

Swale/Bioswale: A low-lying or depressed seasonally wet stretch of land; often lined with grass (grassy swale) or native plants and used as a conveyance and/or treatment facility for stormwater.

System Development Charge (SDC): A charge imposed on a development by a municipality or utility provider to fund (at least in part) construction of capacity-increasing capital improvements necessary for new development.  SDC expenditures are limited to capital-related costs.  They cannot be used for annual operations and maintenance.  In Oregon, SDCs may consist of an improvement fee (SDCi), a reimbursement fee (SDCr), or a combination of the two.

1.	An SDCi (improvement fee) is based on planned future capacity-increasing capital improvements as identified in the jurisdiction’s capital improvement plan or utility-specific master plan.  SDCi revenue must be used only for capacity-increasing improvements needed to serve new development, or the repayment of debt on such improvements.  An increase in capacity is established if an improvement increases the level of service provided by existing facilities or provides new facilities.  The portion of such improvements funded by an SDCi must be related to current or projected development.

2.	An SDCr (reimbursement fee) is based on the jurisdiction’s incurred costs for facilities that have already been constructed that provide capacity for new development.  SDCr revenue may be spent on capital projects related to the utility system, including rehabilitation, replacement and expansion.  The methodology used to establish an SDCr must be such that future system users contribute no more than an equitable share of the capital costs of existing facilities.

Topography: The physical features of a surface area including relative elevations and the position of natural and human-made features.

Toxic: Poisonous, carcinogenic or otherwise directly harmful to life.

Toxic Substances and Toxicants: Chemical substances such as pesticides, detergents, herbicides, chlorine, industrial wastes, and oil/grease that are poisonous, carcinogenic or otherwise directly harmful to life.

Treatment: Chemical, biological or physical procedures applied to industrial or municipal stormwater, wastewater or other sources of contamination to remove, reduce or neutralize contaminants.

Tributary: A drainageway, stream or river that flows into a larger river or other waterbody.

Turbidity: Measure of amount of material suspended in water.  Increasing turbidity of water decreases one’s ability to see through it.  High levels of turbidity over extended periods are harmful to aquatic life.

Undercutting: The action of a stream cutting into its banks because of unusually high or increasingly high flows; usually digging out the bottom of a slope causing the upper portion of soil to fall into the channel.

Upland: Ground elevated above the wetlands along streams/rivers or between hills.

Urban Runoff: Stormwater from urban areas which tends to contain heavy concentrations of pollutants from vehicles and urban land uses.

Vegetated Buffer: Strips of vegetation separating a waterbody from a land use that could act as a non-point pollution source.  Vegetated buffers or filter strips are variable in width and can range in function from vegetated filter strips to wetlands or riparian areas.

Vegetated Filter Strip: Created areas of vegetation designed to remove sediment and other pollutants from surface water runoff.  Removal mechanisms include filtration, deposition, infiltration, adsorption, decomposition and volitization.

Watercourse: A ditch, channel, creek, stream, stormwater conveyance system, or other topographic feature in or over which stormwater flows, at least periodically.

Water Quality Facility: An engineered facility designed and constructed to reduce contaminant levels in stormwater runoff before it is discharged into the stormwater conveyance system or receiving stream.  Such facilities may be mechanical or “natural” in nature, and must be carefully designed, constructed ,operated and maintained to achieve the desired reduction in the pollutants of concern.

Watershed: Geographic region in which all surface water flows toward a particular stream, river or other body of water.

Waters of the State: As defined by the Oregon Division of State Lands (DSL), natural waterways including all tidal and non-tidal bays, intermittent streams, constantly flowing streams, lakes, wetlands and other bodies of water in Oregon, navigable and non-navigable, including that portion of the Pacific Ocean which is within the boundaroies of the state of Oregon.

Watertable: The upper boundary of a free groundwater body at atmospheric pressure; the level below which the ground is saturated with water.

Waterway: As used in Salem Revised Code (SRC) Chapter 65 Excavation and Fills, any perennial river, stream or creek within the City of Salem designated by the Director of Public Works.

Wetlands: Land with a wet, spongy soil, where the water table is at or above the land surface for at least part of the year. Wetlands are characterized by a prevalence of vegetation that is adapted for life in saturated soil conditions. Examples include swamps, bogs, fens, marshes, and estuaries.

Wet Pond: A constructed, generally naturally appearing, water quality facility that employs a permanent pool of water for treating incoming stormwater runoff.  A wet pond may be used in conjunction with a stormwater detention facility.  In an enhanced wet pond design, a forebay is installed to trap incoming sediments where that can be easily removed; and a fringe wetland is also established around the perimeter of the pond.

Wet Weather Flows: Water entering a storm drainage system during rainstorms.

Appendix A. 	Public Participation Feedback

Marion County

Stormwater Open House #1

Public Comments

12/15/03; 5:30-7:00

2,500 invitations mailed; Public Notice to Keizer Times and Statesman Journal; Notice posted at Public Works front desks and website; Notice posted at Fred Meyers, WalMart, Salem Public Library.

16 attendees

MCPW – Willamette Room

MC Project Staff:  		Matt Thorburn, Dave Chamness, and Cheryl Clendennen

MC Staff also present:	Les Sasaki; Bill Worcester

# Questions and Comments

Questions and comments from the public are numbered. The italicized text is a summary of MC staff response.

1. 	How will wetlands be integrated into the stormwater management plan?

Excellent question! Wetlands were not a distinct element of this draft. They will be referenced specifically in the next draft. Wetlands are an important consideration in dealing with stormwater quality and quantity. They are currently regulated by the state (Division of State Lands) and federal (Army Corps of Engineers) governments.

2. 	The plan is too ambiguous right now; would like to see a more complete plan for commenting on.

There is a balance between providing too much detail and too little during this part of the process. This meeting was to solicit broader feedback while the plan is still an early draft. There will be more detail in the next draft after internal review this open house. A more detailed version will be posted to the website as well. Presenting a completed plan with lots of detail at this point would not honor the public participation process of early and frequent dialogue.

3. 	How are the measurable levels set for water quality?

DEQ sets the water quality standards in the state of Oregon. These standards are based on guidance from the US Environmental Protection Agency and the Clean Water Act. Essentially, they focus on beneficially uses like drinking water, fish, recreational water contact, and agricultural uses.

From DEQ:

The Clean Water Act and the "303(d)" List

The Oregon Department of Environmental Quality (DEQ) has the responsibility for developing water quality standards that protect beneficial uses of rivers, streams, lakes and estuaries. Beneficial uses include drinking water, cold water fisheries, industrial water supply, recreation and agricultural uses. Once standards are established, the state monitors water quality and reviews available data and information to determine if these standards are being met and water is protected.

Section 303(d) of the federal Clean Water Act requires each state to develop a list of water bodies that do not meet standards, and to submit this list to the U.S. Environmental Protection Agency (EPA) every two years. The “303(d) list” provides a way for Oregonians to identify and prioritize water quality problems. The list also serves as a guide for developing and implementing watershed pollution reduction plans to achieve water quality standards and protect beneficial

4. 	The health effects of water contamination should be described.

Good suggestion. This will help describe the water quality problems in the management area. We will include background material like this in the next draft.

5. 	What are the implications for the typical landowner? What can I expect to see as a property owner?

The typical landowner in this area can expect to receive information on how they can improve water quality through their personal behaviors – like using non-phosphate soap to wash the car, properly disposing of pet waste and household hazardous waste, keeping large quantities of lawn clippings and leaves out of the ditch, and planting shade trees near streams. If they have kids in school, the kids will probably have some additional instruction on how the water cycle works and how they can help keep water clean. So, education is a major focus.

If a landowner is building on their property, they will likely see increased review of the erosion plans and more requirements for erosion control. (Sediment fences, hay bales, covered stockpiles, etc.)

Additionally, the landowner may notice an increase in county activity in their area’s storm system – with increased litter patrols, catch basin cleaning, street sweeping, etc. There may also be increased pollution prevention enforcement through the “no dumping” ordinance.

6. 	How will agricultural areas be addressed?

Stormwater run-off from agricultural land is primarily addressed through the “Mololla-Pudding-French Prairie-North Santiam Subbasins Agricultural Water Quality Management Area Plan” (from SB1010) as administered by the Oregon Department of Agriculture in cooperation with the Marion Soil and Water Conservation District.  The Marion SWCD is participating in the development of Marion County’s Stormwater Management Plan to help ensure that these two efforts are coordinated.

7. 	What about flood events? How will the measurable criteria play out if there is a flood event?

There are some allowances for pollution level exceedences during excessive flow periods (flood events). For a detailed description of water quality sampling methodology take a look at DEQ’s website:

http://www.deq.state.or.us/wq/303dlist/Final2002AssessmentAndListingMethodolgy.pdf

8. 	What about county roadside activities? Will these be stepped-up in the designated areas?

County roadside activities (related to road maintenance) are addressed through our salmon recovery best management practices (BMPs). The federal government approved this approach as being protective of the listed-salmon species. Since these BMPs focus on water quality, they will have positive effects on stormwater quality as well. There may be an increase in certain county activities as Total Maximum Daily Load (TMDL) regulations come on line (in parallel NPDES Phase II process). TMDLs are pollution allocation measures, whereby every contributor of a given pollutant (i.e. temperature and sediment) is assigned a limit on their contribution. With TMDLs Marion County will likely have to focus its efforts on certain BMPs and possibly increase their activities relating to a specific pollutant.

9. 	The watershed boundaries should be included on the plan maps.

We have a map with these boundaries and will include it in the supplemental materials for the next draft.

10.  	Is there a written record of road closures around the county (for flooded roads)?

We are checking on this. There is definitely a database back through 1999. Prior to that, we would have to research written records from the archive.

11. 	Will the fees/costs be equal for different users? Will people incur costs for services they aren’t receiving?

Though the plan is still in development, it appears that many of the potential fees could be assigned to specific users. For example, the property owner or builder could shoulder the cost of conducting erosion and sediment inspections on new construction projects. The costs of increased maintenance activities in the East Salem Service District could be assigned to residences and businesses in that area that use the system. Costs for some activities like education, however, would more likely be spread among all of the residents and business in the stormwater management area.

12. 	Is this a new problem or something on-going?

The Clean Water Act has been used as a tool for addressing the nation’s water quality issues for decades now. (It was first written, as we know it now, in 1970s.) While the problems have been on going, the legislation and regulations surrounding water pollution have slowly been ramping up. Phase II of NPDES (which is what this plan addresses) began in March of 2003. It is directed at urban non-point source pollutants (like fertilizers, bacteria, sediment, and temperature) that cannot generally be traced to one specific source.

13. 	Include the West Lake Labish Improvement District as a stakeholder.

We will add them to the mailing list of stakeholders.

Marion County

Stormwater Open House #2

Public Comments

2/04/04; 5:30-7:00

Press Release, Public Notice, CCTV, Radio PSAs, various public postings,  website.

9 attendees

MCPW – Santiam Room

MC Staff: Matt Thorburn, Dave Chamness

Stormwater Task Force Members: Scott Eden & Rob Kissler (came late)

Also present:	Les Sasaki; Bill Worcester, Commissioner Brentano

# Questions and Comments

Questions and comments from the public are numbered.  The italicized text is a summary of MC staff response.

1.	There are two properties above my house that drain a lot of water onto my property.  What can I do about that?

These issues are addressed through state drainage laws. Essentially, downstream property owners are required to accept natural flow from upstream properties. Flows that are exacerbated by upstream pipes or ditches could be addressed through state law.

2.  	If construction next to a stream heats up water, why is it allowed? (Specific site referenced was in the City of Salem.)

The City of Salem should be addressing this through their development requirements. A lot of practices that we did in the past will need to be changed to keep the water cleaner and cooler. As the new county ordinances are developed, we’ll need to make sure that follow-up & enforcement are considered closely.

3. 	Are these costs (ESSD fee increases) going to be for everyone in the Stormwater Management Area?

No, the costs are attached to the East Salem Service District residents and businesses. Since the land use is different outside this area, the stormwater program will be different outside the area. Inside the ESSD, there is a lot more intensive development (pavement, roofs, etc.) that can contribute to stormwater run-off, so the program needs to be more intensive in that area.  Permit fees would be across the whole area.

4. 	Is this going to impose restrictions on farm practices?

No, agricultural regulations are covered by SB1010 and resulting agricultural water quality plans.  SWCD and ODA are the lead agencies on dealing with agricultural water quality issues.  Our plan references those other regulations, but does not expand on them.

5. 	Would existing development be “grandfathered in”?

Yes. The new requirements for development (i.e. erosion control, stormwater detention) would be for new development and redevelopment. There wouldn’t be additional requirements for existing development, though landowners may be approached to voluntarily participate in activities like tree planting or property maintenance activities that could help water quality.

6. 	How will agricultural areas be addressed?

Stormwater run-off from agricultural land is primarily addressed through the “Mololla-Pudding-French Prairie-North Santiam Subbasins Agricultural Water Quality Management Area Plan” (from SB1010) as administered by the Oregon Department of Agriculture in cooperation with the Marion Soil and Water Conservation District.  The Marion SWCD is participating in the development of Marion County’s stormwater management plan, to help ensure that these two efforts are coordinated.

7.  	Does this plan designate jurisdictional streams and wetlands?

### No. These are technical issues managed by Oregon Division of State Lands and the U.S. Army Corps of Engineers. Our plan does not affect or expand their definitions or designations.

8.  	Will landowners inside the stormwater management area be penalized for pollutants entering their property from properties beyond the management area boundary?

No. Pollutants discovered inside the stormwater management area will be traced to their source, even if they are beyond the management area boundary.

9.  	Weeds and grasses that grow tall in the ditch beside my property in East Salem are a fire hazard. Does the county have a program to cut down this vegetation?

We don’t know. We will contact the ESSD ditch maintenance manager and get back to you with the answer.

Appendix B. 	Environmental and Human Health Effects from Specific Contaminants

Materials for the following section are drawn from the following sources (formal citations follow each section).

- Oregon DEQ

- Agency for Toxic Substance and Disease Registry

- NASA Glenn Research Center

- Great Lakes Water Institute

Biological Criteria

Definition: "Biological Criteria" means numerical values or narrative expressions that describe the biological integrity of aquatic communities inhabiting waters of a given designated aquatic life use.

340-041-0027 Biological Criteria

Waters of the state shall be of sufficient quality to support aquatic species without detrimental changes in the resident biological communities.

(SOURCE: Oregon Administrative Rules: Chapter 340 Department of Environmental Quality, Water Pollution, Division 41 State-Wide Water Quality Management Plan; Beneficial Uses, Policies, Standards, and Treatment Criteria for Oregon, amended February 15, 2001)

# Copper

What is copper?

What is copper? Copper is a reddish metal that occurs naturally in rocks, soil, water, and air. Copper also occurs naturally in plants and animals.

Metallic copper can be easily molded or shaped. Metallic copper can be found in the U.S. penny, electrical wiring, and some water pipes. Metallic copper is also found in mixtures (called alloys) with other metals such as brass and bronze. Copper is also found as part of other compounds forming salts. Copper salts occur naturally, but are also manufactured. The most common copper salt is copper sulfate. Most copper compounds are blue-green in color.

Copper compounds are commonly used in agriculture to treat plant diseases like mildew, for water treatment and, as preservatives for wood, leather, and fabrics.

What happens to copper when it enters the environment?

- Copper can enter the environment from the mining of copper and other metals and from factories that make or use metallic copper or copper compounds.

- It can also enter the environment through domestic waste water, combustion of fossil fuels and wastes, wood production, phosphate fertilizer production, and natural sources (e.g., windblown dust from soils, volcanoes, decaying vegetation, forest fires, and sea spray).

- Copper in soil strongly attaches to organic material and minerals.

- Copper that dissolves in water becomes rapidly bound to particles suspended in the water.

- Copper does not typically enter groundwater.

- Copper carried by particles emitted from smelters and ore processing plants is carried back to the ground by gravity or in rain or snow.

- Copper does not break down in the environment.

How might I be exposed to copper?

- Breathing air, drinking water, eating food, and by skin contact with soil, water, or other copper-containing substances.

- Some copper in the environment can be taken up by plants and animals.

- Higher exposure may occur if your water is corrosive and you have copper plumbing and brass water fixtures.

- You may be exposed to higher amounts of copper if you drink water or swim in lakes or reservoirs recently treated with copper to control algae or receive cooling water from a power plant that may have high amounts of dissolved copper.

- Using some garden products (e.g., fungicides) to control plant diseases.

- Living near bronze and brass production facilities may expose you to higher copper levels in soil.

- You may breathe copper-containing dust or have skin contact if you work in the industry of mining copper or processing the ore. You may breathe high levels if you grind or weld copper metal.

How can copper affect my health?

Copper is essential for good health, but high amounts can be harmful. Long-term exposure to copper dust can irritate your nose, mouth, and eyes, and cause headaches, dizziness, nausea, and diarrhea.

Drinking water with higher than normal levels of copper may cause vomiting, diarrhea, stomach cramps, and nausea. Intentionally high intakes of copper can cause liver and kidney damage and even death.

How likely is copper to cause cancer?

We do not know whether copper can cause cancer in humans. The EPA has determined that copper is not classifiable as to carcinogenicity.

How can copper affect children?

Exposure to high levels of copper will result in the same type of effects in children and adults. Studies in animals suggest that the young children may have more severe effects than adults; we do not know if this would also be true in humans. There is a very small percentage of infants and children who are unusually sensitive to copper.

We do not know if copper can cause birth defects or other developmental effects in humans. Studies in animals suggest that ingestion of high levels of copper may cause a decrease in fetal growth.

How can families reduce the risk of exposure to copper?

- The greatest potential source of copper exposure is through drinking water, especially in water that is first drawn in the morning after sitting in copper pipes and brass faucets overnight.

- To reduce exposure, run the water for at least 15-30 seconds before using it.

- If you are exposed to copper at work, you may carry copper home on your skin, clothes, or tools. You can avoid this by showering, and changing clothing before leaving work, and your work clothes should be kept separate from other clothes and laundered separately.

Is there a medical test to show whether I've been exposed to copper?

Copper is normally found in all tissues of the body, blood, urine, feces, hair, and nails. High levels of copper in these samples can show that you have been exposed to higher than normal levels of copper. Tests to measure copper levels in the body are not routinely available at the doctor's office because they require special equipment. These tests cannot tell the extent of exposure or whether you will experience harmful effects.

Has the federal government made recommendations to protect human health?

The EPA has determined that drinking water should not contain more than 1.3 milligrams of copper per liter of water (1.3 mg/L).

The Occupational Safety and Health Administration (OSHA) has set a limit of 0.1 mg per cubic meter (0.1 mg/m³) of copper fumes (vapor generated from heating copper) and 1 mg/m³ of copper dusts (fine metallic copper particles) and mists (aerosol of soluble copper) in workroom air during an 8-hour work shift, 40-hour workweek.

The Food and Nutrition Board of the Institute of Medicine recommends dietary allowances (RDAs) of 340 micrograms (340 µg) of copper per day for children aged 1-3 years, 440 g/day for children aged 4-8 years, 700 µg/day for children aged 9-13 years, 890 µg/day for children aged 14-18 years, and 900 g/day for adults.

References

Agency for Toxic Substances and Disease Registry (ATSDR). 2002. Toxicological Profile for copper. Draft for Public Comment. Atlanta, GA: U.S. Department of Health and Human Services, Public Health Service.

Oregon Water Quality Standards for Copper

Current	Proposed

DEQ Acute:	18		14

DEQ Chronic:	12		9.3

(Total recoverable concentration; function of hardness; assumes hardness is 100mg/L)

# Dieldrin

What are aldrin and dieldrin?

Aldrin and dieldrin are insecticides with similar chemical structures. They are discussed together in this fact sheet because aldrin quickly breaks down to dieldrin in the body and in the environment. Pure aldrin and dieldrin are white powders with a mild chemical odor. The less pure commercial powders have a tan color. Neither substance occurs naturally in the environment

From the 1950s until 1970, aldrin and dieldrin were widely used pesticides for crops like corn and cotton. Because of concerns about damage to the nvironment and potentially to human health, EPA banned all uses of aldrin and dieldrin in 1974, except to control termites. In 1987, EPA banned all uses.

What happens to aldrin and dieldrin when they enter the environment?

- Sunlight and bacteria change aldrin to dieldrin so that we mostly find dieldrin in the environment.

- They bind tightly to soil and slowly evaporate to the air.

- Dieldrin in soil and water breaks down very slowly.

- Plants take in and store aldrin and dieldrin from the soil.

- Aldrin rapidly changes to dieldrin in plants and animals.

- Dieldrin is stored in the fat and leaves the body very slowly.

How might I be exposed to aldrin and dieldrin?

- Dieldrin is everywhere in the environment, but at very low levels.

- Eating food like fish or shellfish from lakes or streams contaminated with either chemical, or contaminated root crops, dairy products, or meats.

- Air, surface water, or soil near waste sites may contain higher levels.

- Living in homes that were once treated with aldrin or dieldrin to control termites.

How can aldrin and dieldrin affect my health?

People who intentionally or accidentally ingested large amounts of aldrin or dieldrin suffered convulsions and some died. Health effects may also occur after a longer period of exposure to smaller amounts because these chemicals build up in the body.

Some workers exposed to moderate levels in the air for a long time had headaches, dizziness, irritability, vomiting, and uncontrolled muscle movements. Workers removed from the source of exposure rapidly recovered from most of these effects.

Animals exposed to high amounts of aldrin or dieldrin also had nervous system effects. In animals, oral exposure to lower levels for a long period also affected the liver and decreased their ability to fight infections. We do not know whether aldrin or dieldrin affect the ability of people to fight disease.

Studies in animals have given conflicting results about whether aldrin and dieldrin affect reproduction in male animals and whether these chemicals may damage the sperm. We do not know whether aldrin or dieldrin affect reproduction in humans.

How likely are aldrin and dieldrin to cause cancer?

There is no conclusive evidence that aldrin or dieldrin cause cancer in humans. Aldrin and dieldrin have shown to cause liver cancer in mice. The International Agency for Research on Cancer (IARC) has determined that aldrin and dieldrin are not classifiable as to human carcinogenicity. The EPA has determined that aldrin and dieldrin are probable human carcinogens.

How can aldrin and dieldrin affect children?

Children can be exposed to aldrin and dieldrin in the same way as adults. There are no known unique exposure pathways for children. Children who swallowed amounts of aldrin or dieldrin much larger than those found in the environment suffered convulsions and some died, as occurred in adults. However, we do not know whether children are more susceptible than adults to the effects of aldrin or dieldrin.

We do not know whether aldrin or dieldrin cause birth defects in humans. Pregnant animals that ingested aldrin or dieldrin had some babies with low birth weight and some with alterations in the skeleton. Dieldrin has been found in human breast milk, therefore, it can be passed to suckling infants.

How can families reduce their risk for exposure to aldrin and dieldrin?

- Since aldrin and dieldrin are no longer produced or used, exposure to these compounds will occur only from past usage.

- Because aldrin and dieldrin were applied to the basement of some homes for termite protection, before buying a home families should investigate what, if any, pesticides have been used within the home.

Is there a medical test to show whether I've been exposed to aldrin and dieldrin?

There are laboratory tests that can measure aldrin and dieldrin in your blood, urine, and body tissues. Because aldrin changes to dieldrin fairly quickly in the body, the test has to be done shortly after you are exposed to aldrin. Since dieldrin can stay in the body for months, measurements of dieldrin can be made much longer after exposure to either aldrin or dieldrin. The tests cannot tell you whether harmful health effects will occur. These tests are not routinely available at the doctor's office because they require special equipment.

Has the federal government made recommendations to protect human health?

The EPA limits the amount of aldrin and dieldrin that may be present in drinking water to 0.001 and 0.002 milligrams per liter (mg/L) of water, respectively, for protection against health effects other than cancer. The EPA has determined that a concentration of aldrin and dieldrin of 0.0002 mg/L in drinking water limits the lifetime risk of developing cancer from exposure to each compound to 1 in 10,000.

The Occupational Safety and Health Administration (OSHA) sets a maximum average of 0.25 milligrams of aldrin and dieldrin per cubic meter of air (0.25 mg/m³) in the workplace during an 8-hour shift, 40 hour week. The National Institute for Occupational Safety and Health (NIOSH) also recommends a limit of 0.25 mg/m³ for both compounds for up to a 10-hour work day, 40-hour week.

The Food and Drug Administration (FDA) regulates the residues of aldrin and dieldrin in raw foods. The allowable range is from 0 to 0.1 ppm, depending on the type of food product.

References

Agency for Toxic Substances and Disease Registry (ATSDR). 2002. Toxicological Profile for aldrin and dieldrin. Atlanta, GA: U.S. Department of Health and Human Services, Public Health Service.

Current	Proposed

DEQ Acute:	2.5	0.24

DEQ Chronic:	0.0019	0.056

(mg/L)

# Dissolved Oxygen

An adequate supply of dissolved oxygen gas is essential for the survival of aquatic organisms. A deficiency in this area is a sign of an unhealthy river. There are a variety of factors affecting levels of dissolved oxygen. The atmosphere is a major source of dissolved oxygen in river water. Waves and tumbling water mix atmospheric oxygen with river water. Oxygen is also produced by rooted aquatic plants and algae as a product of photosynthesis.

There are physical factors that can lessen the amount of oxygen dissolved…  High temperatures, which may result from high turbidity, from the return of industrially used water to the river (the phenomenon of thermal pollution), or from dry periods, decrease the amount of gases that can be dissolved in water. Dry periods also decrease flow which reduces the amount of oxygen churned into the water.

Bacteria which decompose plant material and animal waste consume dissolved oxygen, thus decreasing the quantity available to support life. Ironically, it is life in the form of plants and algae that grow uncontrolled due to fertilizer that leads to the masses of decaying plant matter.

Too much dissolved oxygen is not healthy, either. Extremely high levels of dissolved oxygen usually result from photosynthesis by a large amount of plants. Great uncontrolled plant growth, especially algal blooms, is often the result of fertilizer runoff. This phenomenon is called cultural eutrophication.

Dissolved oxygen levels in sections of … river(s) in which plants are the major contributor of oxygen fall sharply at night because photosynthesis ceases.

(NASA Glenn Research Center, Website: http://www.grc.nasa.gov/WWW/K-12/fenlewis/Waterquality.html, 2004)

E Coli Bacteria and Fecal Coliform Bacteria

Sources of E. coli (and Fecal Coliform bacteria) in Surface Waters

… Agricultural runoff, urban stormwater and sewage overflows are all potential sources of contamination in waterways. Detecting contamination is relatively simple compared to the challenge of identifying where such contamination may originate. Fecal coliforms and E. coli are bacteria commonly used in water quality testing to detect fecal pollution. These organisms are present in high numbers in the gastrointestinal tract of almost all warm-blooded animals, and are therefore easy to detect in feces-contaminated water. Fecal coliforms and E. coli generally do not pose the actual health risk, but rather demonstrate the presence of fecal matter, which may carry numerous pathogenic (disease causing) organisms. The USEPA has determined that if levels of E. coli exceed 235 organisms (Colony Forming Unit or CFU) per 100 mL of water, a health risk to humans may exist and recreational waters should be closed to the public.

Sewage Overflows

Human fecal pollution in urban areas is largely attributed to sewage overflows.  (Failed septic systems and illegal septic hookups can also contribute. – Ed.) There are two types of sewage overflows; sanitary sewer overflows (SSOs), and combined sewer overflows (CSOs).  SSOs are the release of untreated sewage from municipal sanitary sewers directly into surface water bodies.  There are numerous causes of SSOs including extreme weather, system failure, incorrect system operation and maintenance, and vandalism.  Combined sewer systems carry both sanitary sewage and stormwater to a treatment plant.  During wet-weather periods these combined systems may exceed their holding capacity due to the increased amount of stormwater entering the system, and, as a result, this combined sewage is discharged directly into the nearby surface waters.  E. coli levels in sewage discharge have been found to reach 500,000 CFU/ 100 mL for an SSO, and 250,000 CFU/ 100 mL from a CSO.

Stormwater Runoff

Stormwater is a major contributor of bacterial and chemical non-point source pollution in watersheds.  Urban and suburban areas generate higher volumes and more highly polluted stormwater runoff than land covered in natural vegetation due to the amount of pavement and rooftops (impervious surfaces) in developed areas. E. coli levels in urban stormwater can reach as high as 100,000 CFU/ 100 mL.

Agricultural Runoff

Fecal contamination from agricultural animal runoff poses an additional threat to water quality. E. coli levels from feedlot runoff typically ranges between 10,000 to 100,000 CFU/ 100mL and is accompanied by nutrient and sediment contaminants. 
Wildlife 
Localized inputs of fecal bacteria from wildlife, such as waterfowl roosting on shorelines, can negatively impact water quality.  According to a study conducted by our laboratory at a Milwaukee beach on Lake Michigan, E. coli levels reaching over 27,000 CFU/ 100 mL were found in an area where gulls routinely roost.
(Great Lakes Water Institute, Website: http://www.uwm.edu/Dept/GLWI/ecoli/ sources%20of%20ecoli%20in%20water.htm, 2004)

Iron

Excessive iron in surface water can exacerbate dissolved oxygen problems in water quality limited streams.  Reduction of iron in surface water can increase the amount of dissolved oxygen available to aquatic organisms.  Iron exceedences can often be traced to sedimentation from erosion.

Current	Proposed

DEQ Acute:		na		na

DEQ Chronic:	1000		1000

(mg/L)

Lead

What is lead?

Lead is a naturally occurring bluish-gray metal found in small amounts in the earth's crust. Lead can be found in all parts of our environment. Much of it comes from human activities including burning fossil fuels, mining, and manufacturing.

Lead has many different uses. It is used in the production of batteries, ammunition, metal products (solder and pipes), and devices to shield X-rays.

Because of health concerns, lead from gasoline, paints and ceramic products, caulking, and pipe solder has been dramatically reduced in recent years.

What happens to lead when it enters the environment?

- Lead itself does not break down, but lead compounds are changed by sunlight, air, and water.

- When lead is released to the air, it may travel long distances before settling to the ground.

- Once lead falls onto soil, it usually sticks to soil particles.

- Movement of lead from soil into groundwater will depend on the type of lead compound and the characteristics of the soil.

- Much of the lead in inner-city soils comes from old houses painted with lead-based paint.

How might I be exposed to lead?

- Eating food or drinking water that contains lead.

- Spending time in areas where lead-based paints have been used and are deteriorating.

- Working in a job where lead is used.

- Using health-care products or folk remedies that contain lead.

- Engaging in certain hobbies in which lead is used (for example, stained glass).

How can lead affect my health?

Lead can affect almost every organ and system in your body. The most sensitive is the central nervous system, particularly in children. Lead also damages kidneys and the reproductive system. The effects are the same whether it is breathed or swallowed.

At high levels, lead may decrease reaction time, cause weakness in fingers, wrists, or ankles, and possibly affect the memory. Lead may cause anemia, a disorder of the blood. It can also damage the male reproductive system. The connection between these effects and exposure to low levels of lead is uncertain.

How likely is lead to cause cancer?

The Department of Health and Human Services has determined that lead acetate and lead phosphate may reasonably be anticipated to be carcinogens based on studies in animals.

There is inadequate evidence to clearly determine lead's carcinogenicity in people.

How does lead affect children?

Small children can be exposed by eating lead-based paint chips, chewing on objects painted with lead-based paint, or swallowing house dust or soil that contains lead. Children are more vulnerable to lead poisoning than adults. A child who swallows large amounts of lead may develop blood anemia, severe stomachache, muscle weakness, and brain damage. A large amount of lead might get into a child's body if the child ate small pieces of old paint that contained large amounts of lead. If a child swallows smaller amounts of lead, much less severe effects on blood and brain function may occur. Even at much lower levels of exposure, lead can affect a child's mental and physical growth.

Exposure to lead is more dangerous for young and unborn children. Unborn children can be exposed to lead through their mothers. Harmful effects include premature births, smaller babies, decreased mental ability in the infant, learning difficulties, and reduced growth in young children. These effects are more common if the mother or baby was exposed to high levels of lead.

How can families reduce the risk of exposure to lead?

- Avoid exposure to sources of lead.

- Do not allow children to chew or mouth painted surfaces that may have been painted with lead-based paint (homes built before 1978).

- Run your water for 15 to 30 seconds before drinking or cooking with it. This will get rid of lead that may have leached out of pipes.

- Some types of paints and pigments that are used as make-up or hair coloring contain lead.

- Keep these kinds of products away from children.

- Wash children's hands and faces often to remove lead dusts and soil, and regularly clean the house of dust and tracked in soil.

Is there a medical test to show whether I've been exposed to lead?

A blood test is available to measure the amount of lead in your blood and to estimate the amount of your exposure to lead. Blood tests are commonly used to screen children for lead poisoning. Lead in teeth and bones can be measured with X-rays, but this test is not as readily available. Medical treatment may be necessary in children if the lead concentration in blood is higher than 45 micrograms per deciliter (45 µg/dL).

Has the federal government made recommendations to protect human health?

The Centers for Disease Control and Prevention (CDC) recommends that children ages 1 and 2 be screened for lead poisoning. Children who are 3 to 6 years old should be tested for lead if they have never been tested for lead before and if they receive services from public assistance programs; if they live in or regularly visit a building built before 1950; if they live in or visit a home built before 1978 that is being remodeled; or if they have a brother, sister, or playmate who has had lead poisoning. CDC considers children to have an elevated level of lead if the amount in the blood is 10 µg/dL. The EPA requires lead in air not to exceed 1.5 micrograms per cubic meter (1.5 µg/m³) averaged over 3 months. EPA limits lead in drinking water to 15 µg per liter.

The Occupational Health and Safety Administration (OSHA) develops regulations for workers exposed to lead. The Clean Air Act Amendments of 1990 banned the sale of leaded gasoline. The Federal Hazardous Substance Act bans children's products that contain hazardous amounts of lead.

References

Agency for Toxic Substances and Disease Registry (ATSDR). 1999. Toxicological Profile for lead. Atlanta, GA: U.S. Department of Health and Human Services, Public Health Service.

Oregon Water Quality Standards for Lead

Current	Proposed

DEQ Acute:		82		82

DEQ Chronic:		82		82

(mg/L)

Mercury

What is mercury?

Mercury is a naturally occurring metal, which has several forms. The metallic mercury is a shiny, silver-white, odorless liquid. If heated, it is a colorless, odorless gas.

Mercury combines with other elements, such as chlorine, sulfur, or oxygen, to form inorganic mercury compounds or "salts," which are usually white powders or crystals. Mercury also combines with carbon to make organic mercury compounds. The most common one, methylmercury, is produced mainly by microscopic organisms in the water and soil. More mercury in the environment can increase the amounts of methylmercury that these small organisms make.

Metallic mercury is used to produce chlorine gas and caustic soda, and is also used in thermometers, dental fillings, and batteries. Mercury salts are sometimes used in skin lightening creams and as antiseptic creams and ointments.

What happens to mercury when it enters the environment?

- Inorganic mercury (metallic mercury and inorganic mercury compounds) enters the air from mining ore deposits, burning coal and waste, and from manufacturing plants.

- It enters the water or soil from natural deposits, disposal of wastes, and volcanic activity.

- Methylmercury may be formed in water and soil by small organisms called bacteria.

- Methylmercury builds up in the tissues of fish.  Larger and older fish tend to have the highest levels of mercury.

How might I be exposed to mercury?

- Eating fish or shellfish contaminated with methylmercury.

- Breathing vapors in air from spills, incinerators, and industries that burn mercury-containing fuels.

- Release of mercury from dental work and medical treatments.

- Breathing contaminated workplace air or skin contact during use in the workplace (dental, health services, chemical, and other industries that use mercury).

- Practicing rituals that include mercury.

How can mercury affect my health?

The nervous system is very sensitive to all forms of mercury. Methylmercury and metallic mercury vapors are more harmful than other forms, because more mercury in these forms reaches the brain. Exposure to high levels of metallic, inorganic, or organic mercury can permanently damage the brain, kidneys, and developing fetus. Effects on brain functioning may result in irritability, shyness, tremors, changes in vision or hearing, and memory problems.

Short-term exposure to high levels of metallic mercury vapors may cause effects including lung damage, nausea, vomiting, diarrhea, increases in blood pressure or heart rate, skin rashes, and eye irritation.

How likely is mercury to cause cancer?

There are inadequate human cancer data available for all forms of mercury. Mercuric chloride has caused increases in several types of tumors in rats and mice, and methylmercury has caused kidney tumors in male mice. The EPA has determined that mercuric chloride and methylmercury are possible human carcinogens.

How does mercury affect children?

Very young children are more sensitive to mercury than adults. Mercury in the mother's body passes to the fetus and may accumulate there. It can also can pass to a nursing infant through breast milk. However, the benefits of breast feeding may be greater than the possible adverse effects of mercury in breast milk.

Mercury's harmful effects that may be passed from the mother to the fetus include brain damage, mental retardation, incoordination, blindness, seizures, and inability to speak. Children poisoned by mercury may develop problems of their nervous and digestive systems, and kidney damage.

How can families reduce the risk of exposure to mercury?

Carefully handle and dispose of products that contain mercury, such as thermometers or fluorescent light bulbs. Do not vacuum up spilled mercury, because it will vaporize and increase exposure. If a large amount of mercury has been spilled, contact your health department. Teach children not to play with shiny, silver liquids.

Properly dispose of older medicines that contain mercury. Keep all mercury-containing medicines away from children. Pregnant women and children should keep away from rooms where liquid mercury has been used.

Learn about wildlife and fish advisories in your area from your public health or natural resources department.

Is there a medical test to show whether I've been exposed to mercury?

Tests are available to measure mercury levels in the body. Blood or urine samples are used to test for exposure to metallic mercury and to inorganic forms of mercury. Mercury in whole blood or in scalp hair is measured to determine exposure to methylmercury. Your doctor can take samples and send them to a testing laboratory.

Has the federal government made recommendations to protect human health?

The EPA has set a limit of 2 parts of mercury per billion parts of drinking water (2 ppb).

The Food and Drug Administration (FDA) has set a maximum permissible level of 1 part of methylmercury in a million parts of seafood (1 ppm).

The Occupational Safety and Health Administration (OSHA) has set limits of 0.1 milligram of organic mercury per cubic meter of workplace air (0.1 mg/m³) and 0.05 mg/m³ of metallic mercury vapor for 8-hour shifts and 40-hour work weeks.

References

Agency for Toxic Substances and Disease Registry (ATSDR). 1999. Managing Hazardous Materials Incidents. Volume III – Medical Management Guidelines for Acute Chemical Exposures: Mercury. Atlanta, GA: U.S. Department of Health and Human Services, Public Health Service.

Oregon Water Quality Standards for Mercury

Current	Proposed

DEQ Acute:		2.4		1.6

DEQ Chronic:	0.012		0.91

(mg/L)

Temperature

OREGON’s EXISTING  WATER QUALITY CRITERIA  FOR STREAM TEMPERATURE

(ODEQ, Website:

http://www.deq.state.or.us/wq/standards/TempCriteriaGuide.pdf, 2004)

June 4, 2003

Introduction

Over 30 years ago, Oregon designated “cold water salmonid habitat” as the applicable beneficial use for most of its state surface waters. The current Oregon water quality criteria, adopted by the Environmental Quality Commission on January 11, 1996, are primarily intended to protect this beneficial use. Thus portions of the criteria are directly tied to the cold water biological needs of salmonids at their different life stages.

The criteria are consistent with the goals and objectives of the Oregon Plan for Salmon and Watersheds and apply to both point and nonpoint sources. In addition, the criteria are uniquely intended to be applied on a watershed or subbasin basis. In adopting the criteria, DEQ and the Environmental Quality Commission intended to minimize risk of anthropogenic warming on cold water aquatic ecosystems, encourage restoration of these ecosystems by reversing the warming trend and cooling many of the State’s waters, and control extremes in temperature fluctuations from human activities. Extreme fluctuations in stream temperatures can result in thermal shock to exposed fish.

The Temperature Criteria

Oregon has six independent narrative and numeric temperature criteria that protect cold water important to salmonids.

First, human (point and nonpoint source) activities that cause a “measurable increase” in ambient stream temperature are prohibited in waters identified by DEQ as cold water refugia for temperature-sensitive fish [see OAR 340-041-subbasin(2)(b)(A)(vi), and see the cold water refugia definition at OAR 340-041-006(57)]. In addition these areas supply cold water to downstream reaches that might otherwise be warmer.

Second, proposed new or increased discharges from point sources, and discharges from dams that may warm waters that meet or are colder than the numeric triggers in item six below, can only be authorized if DEQ (or in the case of agriculture and forestry, the Oregon Department of Agriculture and the Oregon Department of Forestry respectively), through an antidegradation analysis, determines that the benefits of this warming outweigh the adverse water quality consequences of warming the waters [see OAR 340-041-120(11)(g)].

Third, all dischargers to all State waters must use the highest and best practicable treatment or controls to minimize their heat load to the river [see OAR 340-041-subbasin(1)].

Fourth, human (point and nonpoint source) activities are prohibited from causing a “measurable increase” in ambient temperatures in a natural lake [see OAR 340-041-subbasin(2)(b)(A)(ix)].

Fifth, human (point and nonpoint source) activities that cause a “measurable increase” above background stream temperatures are prohibited if any federal threatened or endangered species (including listed salmonids) are present in the stream unless the source can demonstrate that the temperature increase will not impair the biological integrity of the threatened or endangered species’ stream population [see OAR 340-041-subbasin(2)(b)(A)(vii)].

Sixth, human (point and nonpoint source) activities are prohibited from causing a “measurable increase” in stream temperature if ANY ONE of the following numeric triggers is exceeded [see OAR 340-041-subbasin(2)(b)(A)(i-v)]:.

• 	Salmonids are spawning, or eggs are incubating, or juvenile (fry) are emerging and the stream temperature rises above a 7 day average of daily maximum water temperatures of 55 degrees F (12.8 C).

• 	Salmonid juveniles are rearing (growing) in the subbasin, and the stream temperature rises above a 7 day average of daily maximum water temperatures of 64 degrees F (17.8 C) at the mouth of the subbasin.

• 	Bull trout are spawning or rearing (regardless of time of year) and the stream temperature rises above a 7 day average of daily maximum water temperatures of 50 degrees F (10 C). However, this provision does not apply to adult bull trout migrating and feeding in lower river reaches.

• 	The dissolved oxygen levels in streams or spawning gravels are within 0.5 mg/l of 6 mg/l, or less than 10% of saturation, whichever occurs first.

• 	The lower portions of the Willamette (first 50 miles) and Columbia (first 309 miles) Rivers have special provisions regardless of salmonid activities. The “no measurable increase” is triggered in these waters when stream temperatures rise above a 7-day average of daily maximum water temperatures of 68 degrees F (20C).

Note that in practice, these bulleted criteria are trumped by the fifth criteria above since most of the State’s waters are threatened or endangered salmonid’s habitat. DEQ assumes that any increase of anthropogenic heat will adversely impair the biological integrity of the species present.

DEQ and the Commission recognize that stream temperatures may naturally exceed the numeric triggers due to exposure to solar radiation, natural low flow conditions, or other similar natural influences. These circumstances are addressed in the criteria by the following:

The “no measurable increase” criteria are NOT violated if the warming is attributed to natural (non-anthropogenic) sources. State waters will neither be listed as “impaired,” nor have a TMDL performed if the temperature exceedance is known to be solely due to one or more of these “natural conditions.” Further, if a water body is listed and a TMDL analysis determines that the cause of the impairment is “natural,” the TMDL process will conclude and the water body will be de-listed.

Similarly, the criteria are not violated if a water body only exceeds the numeric triggers during the warmest ten (10) percent of the historic maximum weekly maximum air temperatures.

Sources may petition DEQ for a 1 degree F increase, or alternatively may petition the Environmental Quality Commission for a greater variance to allow an increase of > 1 degree F if the source can demonstrate that all of the following are true [see OAR 340-041-subbasin(2)(b)(C)]:

• 	The source is doing all it can reasonably do to reduce temperatures,

• 	The salmonid use of the stream will not be significantly impacted, and

• 	The environmental costs of further temperature reductions outweigh the benefits of those reductions.

These variances also require EPA approval prior to implementation and must be re-approved by both DEQ or Environmental Quality Commission, and EPA every five (5) years.

Determining Temperature Impairment, Preparing TMDLs and Implementation Mechanisms

DEQ uses the biologically-based, numeric temperature triggers to list State waters as impaired or “water quality limited” for temperature. Once a TMDL has been completed for the listed water, it will be de-listed.

DEQ performs a TMDL analysis, currently including stream temperature modeling, to determine the thermal potential of the watershed. Thermal potential is the estimated stream temperatures that are expected after removing all reversible sources of heat, and accounting for local weather and other environmental factors in a specific watershed. DEQ frequently uses “effective shade” and geomorphology improvements as surrogates in lieu of heat (e.g., temperature or BTUs) in its TMDLs. DEQ will also use these surrogates for periodically measuring progress toward the TMDL goals.

If DEQ determines that the watershed’s thermal potential (measured at the mouth of the watershed) is or could be colder than the numeric triggers, DEQ may, after establishing an adequate margin of safety, allocate this available heat load between point and nonpoint sources throughout the subbasin. In the case of point sources, the no measurable increase applies at the edge of a properly calculated mixing zone.

Thermal potential is not intended to return the stream to pre-settlement conditions. Therefore, if DEQ determines that the watershed’s thermal potential is warmer than the numeric temperature triggers, the thermal potential determination supercedes the numeric triggers for all future purposes. Point and nonpoint sources are expected to achieve the assessed thermal potential rather than the original numeric trigger(s).

When the numeric triggers are exceeded, all sources in the subbasin needing to reduce their heat loading must prepare and submit a temperature management plan. The temperature management plan must contain the steps to be taken and a specific schedule for these steps to reduce the source’s heat contributions.

Permits for point sources, including urban stormwater sources, should incorporate temperature management plans as an enforceable condition of the source’s NPDES permit. Non-NPDES urban communities must also develop a temperature management plan to address stormwater discharges that contribute to stream temperature increases.

In the case of agriculture and forestry, the agricultural water quality management plans (SB 1010 plans) and the implementation of the Forest Practices Act and its rules satisfies the need for a temperature management plan. However, DEQ will look to the Oregon Department of Agriculture and the Oregon Department of Forestry to periodically revise

its rules and policies to ensure these control mechanisms are effective at reducing stream temperature. For all sources, compliance with the applicable and approved temperature management plan is deemed compliance with water quality criteria.

Although all anthropogenic sources of heat contribute to the overall subbasin warming, each source is only responsible for ensuring that its discharge meets the temperature requirements in their approved temperature management plans, consistent with the allocation in the completed TMDL. If each source reduces or eliminates its contribution, the subbasin stream temperatures will cool. (Oregon DEQ)

Zinc

What is zinc?

Zinc is one of the most common elements in the earth's crust. It's found in air, soil, and water, and is present in all foods. Pure zinc is a bluish-white shiny metal.

Zinc has many commercial uses as coatings to prevent rust, in dry cell batteries, and mixed with other metals to make alloys like brass and bronze. A zinc and copper alloy is used to make pennies in the United States.

Zinc combines with other elements to form zinc compounds. Common zinc compounds found at hazardous waste sites include zinc chloride, zinc oxide, zinc sulfate, and zinc sulfide. Zinc compounds are widely used in industry to make paint, rubber, dye, wood preservatives, and ointments.

What happens to zinc when it enters the environment?

- Some is released into the environment by natural processes, but most comes from activities of people like mining, steel production, coal burning, and burning of waste.

- It attaches to soil, sediments, and dust particles in the air.

- Rain and snow remove zinc dust particles from the air.

- Zinc compounds can move into the groundwater and into lakes, streams, and rivers.

- Most of the zinc in soil stays bound to soil particles.

- It builds up in fish and other organisms, but it doesn't build up in plants.

How might I be exposed to zinc?

- Ingesting small amounts present in your food and water.

- Drinking contaminated water near manufacturing or waste sites.

- Drinking contaminated water or a beverage that has been stored in metal containers or flows through pipes that have been coated with zinc to resist rust.

- Eating too many dietary supplements that contain zinc.

- Breathing zinc particles in the air at manufacturing sites.

How can zinc affect my health?

Zinc is an essential element in our diet. Too little zinc can cause health problems, but too much zinc is also harmful. The recommended dietary allowance (RDA) for zinc is 15 milligrams a day for men (15 mg/day); 12 mg/day for women; 10 mg/day for children; and 5 mg/day for infants. Not enough zinc in your diet can result in a loss of appetite, a decreased sense of taste and smell, slow wound healing and skin sores, or a damaged immune system. Young men who don't get enough zinc may have poorly developed sex organs and slow growth. If a pregnant woman doesn't get enough zinc, her babies may have growth retardation.

Too much zinc, however, can also be damaging to your health. Harmful health effects generally begin at levels from 10-15 times the RDA (in the 100 to 250 mg/day range). Eating large amounts of zinc, even for a short time, can cause stomach cramps, nausea, and vomiting. Taken longer, it can cause anemia, pancreas damage, and lower levels of high density lipoprotein cholesterol (the good form of cholesterol).

Breathing large amounts of zinc (as dust or fumes) can cause a specific short-term disease called metal fume fever. This is believed to be an immune response affecting the lungs and body temperature. We do not know the long-term effects of breathing high levels of zinc.

It is not known if high levels of zinc affect human reproduction or cause birth defects. Rats that were fed large amounts of zinc became infertile or had smaller babies. Irritation was also observed on the skin of rabbits, guinea pigs, and mice when exposed to some zinc compounds. Skin irritation will probably occur in people.

How likely is zinc to cause cancer?

The Department of Health and Human Services, the International Agency for Research on Cancer, and the Environmental Protection Agency (EPA) have not classified zinc for carcinogenicity.

Is there a medical test to show whether I've been exposed to zinc?

Zinc can be measured in your blood or feces. This can tell you how much zinc you have been exposed to. Zinc can also be measured in urine, saliva, and hair. The amount of zinc in your hair tells us something about long-term exposure, but the relationship between levels in your hair and the amount that you were exposed to is not clear. These tests are not routinely performed at doctors' offices, but your doctor can take samples and send them to a testing laboratory.

Has the federal government made recommendations to protect human health?

EPA recommends that there be no more than 5 parts of zinc in 1 million parts of drinking water (5 ppm) because of taste. EPA also requires that releases of more than 1,000 (or in some cases 5,000) pounds of zinc or its compounds into the environment be reported.

The Occupational Safety and Health Administration (OSHA) has set a maximum concentration limit for zinc chloride fumes in workplace air of 1 milligram of zinc per cubic meter of air (1 mg/m³) for an 8-hour workday over a 40-hour work week and 5 mg/m³ for zinc oxide fumes. The National Institute for Occupational Safety and Health (NIOSH) has set the same standards for up to a 10-hour workday over a 40-hour workweek.

Glossary

Anemia: A decreased ability of the blood to transport oxygen.

Carcinogenicity: Ability to cause cancer.

Milligram (mg): One thousandth of a gram.

References

Agency for Toxic Substances and Disease Registry (ATSDR). 1994. Toxicological Profile for zinc. Atlanta, GA: U.S. Department of Health and Human Services, Public Health Service.

Oregon Water Quality Standards for Zinc

Current	Proposed

DEQ Acute:		120		120

DEQ Chronic:	110		120

(mg/L)

# Text boxes

Marion County
Stormwater 
Management Program

Clean water is everyone’s business

Includes only Willamette River listings near Salem/Keizer

See Map “303(d) Streams in Stormwater Management Area”

Although the Little Pudding River is not yet a listed stream, the Pudding River is listed and it does receive discharge from the MS4 via the Little Pudding.

##### Support Staff

Matt Thorburn
503-365-3187
Marion County Public Works
mthorburn@co.marion.or.us

Dave Chamness
503-588-7919
Marion County Public Works
dchamness@co.marion.or.us